## Slide 1: GSICS Microwave Radiometer Technology and Instrument Pre-Launch Testing and Post-Launch Characterization (Technology and Testing) Focus Group

## Slide 2: Focus Group Members
Initiated solicitations in early June and closed in end of June
Recruited six members in addition to co-leaders
Members and affiliations
  Jon Mittaz (University of Reading)
  Fennig Karsten (German Weather Service DWD)
  Tiger Yang (University of Maryland)
  Raffaele Crapolicchio (ESA)
  Shengli We (China Meteorological Administration)
  Tim Hewison (EUMETSAT)
  Juyang Hu (China Meteorological Administration)
  Dazhen Gu (NIST)

## Slide 3: FG First Meeting
Held first virtual meeting on July 31st 2024
Four participants
Self-intro highlights
  Tiger (ATMS calibration, satellite data evaluation, outreach education, …)
  Raffaele (data quality, SMOS mission, post-launch calibration, …)
  Tim (calibration algorithms, SNO calibration, system performance limits, …)
  Dazhen (standards development, radiometer calibration, uncertainty analysis, …)

## Slide 4: Meeting Logistics Outcomes
Meeting frequency – Quarterly meeting
Focus group nick name – Technology and Testing (TT)
Shared resource management UMD GSICS wiki page (to be identified and established by DG) Github – software, dataset (to be established as needed)
Overlap and collaboration with other focus groups RC: MW applications TH: Direct Inter-Calibration TY: Lunar Calibration

## Slide 5: Technical Topics Discussion (Tim)
NEΔT: unify definitions and ways of calculation
Gain stability: white noise and 1/f noise, Allan Variance (GSICS recommendation)
Intercalibration methods
Hyperspectral radiometric measurements

## Slide 6: Technical Topics Discussion (Tiger)
SI traceability: No international metrology institutions provide traceable microwave radiometer calibration
Establishment of microwave calibration standards for remote sensing
Extend traceability path to satellite measurements and transfer standards
Alternative technology to existing calibration artifacts
Recommend reaching out to Ed Kim at NASA (pre- and post-launch calibration of ATMS instruments)

## Slide 7: Technical Topics Discussion (Raffaele)
Noise diode applications for on-board satellite calibration
Post launch sensor monitoring
Long term (decadal) satellite operation
Quality assurance for earth observation (shared SMOS monthly report June 2024)
Inter-comparison with ground-based radiometers

## Slide 8: Technical Topics Discussion (Dazhen)
Improvements of NIST blackbody prototype
Electromagnetic and thermal validations of blackbody standards
Next-generation standards for small satellite platforms
Uncertainty analysis in microwave remote sensing
NOAA NEON SMBA (Sounder for Microwave-Based Applications) mission

## Slide 9: Backup slides
Microwave Radiometer
  Calibration standards and techniques
  Measurement uncertainty
  Receiver architecture: antennas, amplifiers, mixers, detectors, etc
  Emerging technology associated with CubeSats
  Characterization of white and 1/f noise and their power limit definition (Tim)
  Inter-channel correlation (Tim)
  Development of future SI-traceable on-orbit calibration reference (Tiger)
  New calibration technology for next-generation microwave radiometer (Tiger) Hyperspectral radiometer (Tim)
  Application of noise diode in small/cubic satellite calibration (Tiger)
Pre-launch Testing (Limited experience from participants in the 1st meeting)
  Experimental program design
  Instrumental characterization method development
Post-launch characterization
  Ensemble measurement characterization methods, for window and sounding channels, for passive and positive instruments, and hope to establish a unified evaluation standard
  Instrument post-launch quality comparison
  Characterization method for microwave instrument onboard stationary orbit satellite