## Slide 1: GSICS Work Plan: Procedure for Dataset Cross-calibration Status and Discussion Points
December 10, 2025

## Slide 2: Procedure for Dataset Cross-calibration
A procedure for the cross-calibration of radiation instrument data is required.
  Existing procedures, such as the COSPAR/PRBEM data analysis procedure (DAP) (https://prbem.github.io/documents/Standard_Data_Analysis.pdf) will be analysed.
  The unique aspects of the GSICS data sets on Geostationary orbits, i.e. a lack of conjunctions between spacecraft must be addressed in the process.
The SWx work plan should make clear that the first SWx procedure to be written only covers charged particle radiation, but that others are possible in the future with additional SWx subgroup scope/members
The SWx subgroup has provided critical reviews of the PRBEM DAP and has agreed to collaborate with PRBEM on updating the DAP
Discuss today:
  How is the work plan xcal procedure distinct from the COSPAR/PRBEM DAP?
  How do we avoid duplicating work?

## Slide 3: Subgroup Work To Date on PRBEM Procedure
ESA proposed standard method for cross-calibration to follow PRBEM DAP in November 2023
NOAA reviewed DAP by January 2024, provided detailed comments
Subgroup proposed, got a discussion with PRBEM at Busan COSPAR meeting in July 2024 – our comments were received positively
Attended joint COSPAR/PRBEM and GSICS/SWx subgroup meeting on April 15, 2025
  PRBEM resolution on DAP update had been accepted by board
  Agreed that communication with GSICS needs to be established – this is the start
Attended joint COSPAR/PRBEM and GSICS/SWx subgroup meeting on July 1, 2025 – volunteered for some action items; others still need volunteers

## Slide 4: E-mail from Antoine (Jul. 11, 2025) about Joint COSPAR/PRBEM and GSICS/SWx sub-group meeting on Jul. 1, 2025
As a summary, here are the different action items and the main discussion points. Do not hesitate to volunteer for any of the action items we haven't assigned during the discussion. Everyone agreed that the sanitization part of the Data Analysis Procedure is still relevant today. We identified a need for a description of the bow-tie procedure for unfolding of the fluxes from the particle count rates, as well as a validation procedure for the fluxes. Action Item 1 (JR): Write guidelines for the bow-tie analysis to obtain flux products.
Cross calibration conjunctions criteria could stay the same, but guidelines on how to properly relax them should be provided for typical cases. Action Item 2 (??): Identify typical use cases where the DAP conjunction criteria cannot be used and propose possible relaxation strategies.
Further discussion is needed regarding the recommendations for the use of magnetic field models.
For GEO-GEO calibrations, we should provide guidelines on how to properly perform long-term average comparisons. Action Item 3 (??): Write guidelines on how to perform long-time averages comparisons for GEO-GEO cross-calibration purposes. Regarding an eventual update of the "gold standard" datasets in the DAP, we should trace the calibrations performed between the CRRES and GOES8 era to today, and evaluate how impactful an update would be. Action Item 4 (IS): collect published cross-calibrations studies. Action Item 4a (HE): perform archaeology in the reports of ESA projects (SEPEM, TRENDS) to identify calibration studies performed between the CRRES era to today. Action Item 4b (JR): identify the calibrations performed on GOES and GPS. Further discussion is needed regarding the re-definitions of the gold standards. We can discuss these points by email and organise telecon meetings as necessary. We have agreed to host the document editing on the PRBEM Github space. Action Item 5 (AB): setup a repository for the purpose of editing the new document
Attendee: A. Boudouridis, A. Brunet, H. Evans, B. Kress, Y. Miyoshi, T. Nagatsuma, J. Rodriguez, I. Sandberg

## Slide 5: Open Action Items Discussed During 2025-09-03 Meeting
We have several action items from meeting with Antoine Brunet (COSPAR/PRBEM) (email from A. Brunet on 2025-07-11)
NOAA (J. Rodriguez or A. Boudouridis) will take on AI1 on bowtie analysis.
  Is this relevant to the GSICS work plan xcal procedure?
Nagatsuma-san will ask Daehyeon Oh to take on AI2 (use cases where DAP conjunction criteria cannot be used)
  Is this relevant to the GSICS work plan xcal procedure?
  Do we have a volunteer?
AI3 (how to perform GEO-GEO long-term averages comparisons): There was a discussion about the question that underlay this. J. Spann asked about use of L* in GEO-GEO comparisons. J. Rodriguez described use of 1 hr local time or smaller separation for GOES cross-calibrations. Cannot get a valid cross-calibration of GOES-East and -West from a long-term average.
  Is this relevant to the GSICS work plan xcal procedure?
  Do we have a volunteer?

## Slide 6: Relevance of PRBEM DAP Outline to Work Plan Cross-Cal
Coordinates to sort the data
  Magnetic field model
Obtaining sanitized data
  Cross-species contamination, saturation, background, SNR, spacecraft charging bias
Obtaining coherent data
  Trapped particles
  SEPs
  Cold plasma [only comment that there are no clear techniques for this]
Annexes on trapped particle motion
Relevant
Relevant
Relevant
How much tutorial information should be included in the work plan?

## Slide 7: Expected Changes to Cross-Calibration Procedure: Examples
Selection of “gold reference” dataset(s) – for different orbits?
Selection of magnetic field models – use an ensemble to estimate the inaccuracy?
Relax Kp condition to permit conjunctions for high energy data
Relax B/Beq ~ 1 – only applicable to limited orbit combinations
Define conditions for cross-calibration in GEO
Add methods for identifying and removing contamination (including backgrounds from penetrating radiation)
Update handling of dead time
Define conditions for improved SEP cross-calibration accuracy:
  avoid periods when interplanetary population is anisotropic
  in the magnetosphere, when solar wind Pdyn and |Dst| are large
Use of omnidirectional vs. directional fluxes in cross-calibration (L* considerations)

## Slide 8: Next Steps
Agree on distinctions between COSPAR/PRBEM DAP and GSICS Work Plan cross-calibration procedure
Decide whether the work plan may point to any areas of the PRBEM DAP without modification, or whether everything will have to be written anew
Work on all PRBEM DAP action items as if they would contribute to the work plan
This is a large undertaking – we need more volunteers