## Slide 1: ABI Solar Diffuser Reflectance Error and Mitigation
Xiangqian Wua, Haifeng Qianb, Fangfang Yub, Jon Fulbrightc, and Dan Goldbergd
a: NOAA/NESDIS/STAR b: ERT c: KBR, Inc d: NOAA/NESDIS/OSPO
Declaimer: The scientific results and conclusions, as well as any views or opinions expressed herein, are those of the authors and do not necessarily reflect those of NOAA or the Department of Commerce.

## Slide 2: Introduction
Calibration is the process of quantifying instrument response to known signals*.
Advanced Baseline Imager (ABI), together with the Advanced Himawari Imager (AHI) and the Advanced Meteorological Imager (AMI), are the first instruments on a geostationary platform with onboard calibration for their solar channels.
Periodically, a Solar Diffuser (SD) reflects sunlight to the ABI for calibration.
This is the “known signal” if we also know the SD reflectance.
*: From CEOS WGCV, with modifications

## Slide 3: Plan
On geostationary platform, sunlight comes from a wide range of Angle Of Incident (AOI).
SD reflectance for each of these AOIs were characterized pre-launch to facilitate onboard calibration.
Unfortunately, the results were less than satisfactory.
  Pre-launch characterization?
  Alignment?
  And/Or?
GOES-R Data Book

## Slide 4: Problem
Seasonal variation of gain, due to SD reflectance, can be larger than degradation

## Slide 5: Mitigation – Channel 1
Presented at the 2023 Annual Meeting
Normalized gain, summer solstice to winter solstice and back to summer solstice.
Corrected for instrument degradation.
Fitted to a 4th order polynomial.
Residual after the beta angle correction.
(c)
(d)

## Slide 6: Mitigation – All Channels
Presented at the 2023 Annual Meeting

## Slide 7: Implementation – Observed Gains
Input Data

## Slide 8: Implementation – Corrected Gains
Corrected for Systematic Errors

## Slide 9: Implementation – Smoothed Gains
Smoothed for Random Errors

## Slide 10: Implementation – Operational Gains
Selected for Operation

## Slide 11: Concept of Operation (CONOPS)
Was: Must and only use the automatically generated gains. Default.
Is: Use the optimized gain as needed, which requires:
  Capability to insert externally generated gains – developed for GOES-17 ABI.
  Switch to choose CONOPS – implemented.
As Needed
Solar Gain Update
CWG
Generated Gains
Bi-Weekly Solar Gain Update
Automatically Generated Gains
Bi-Weekly Calibration
Switch ON
Switch OFF
Insertion

## Slide 12: Operation
False
Send Data
SCT Event
CWG Ingest and Processing
Update Gain Decision
Test Gains on ITE/DE
Provide Approved Gains
Validate Gains
Update Gain Decision
Publish to DF
E1
E2
E3
E4
E5
E6
E7
E8
E9
Update CEL
E10
Publish?
Write OCCR
DE GovStore
E4-1
X
Legend
CWG
OSPO MOD
DOST
PRO
Program Science
Key Users

## Slide 13: Validation

## Slide 14: Summary
Onboard calibration for ABI solar channels was unsatisfactory.
The unrealistic seasonal variation of the gains could be caused by error in solar diffuser (SD) reflectance, alignment, or else.
An empirical correction for the SD reflectance was developed for all solar channels.
The correction was implemented with additional consideration of ABI operation.
The new CONOPS was implemented for GOES-16 in April 2024, and is being implemented for GOES-18.