## Slide 1: GRWG Microwave (MW) Subgroup Annual Report 2026
Shengli Wu and Flavio Iturbide-Sanchez, Co-Chairs
Tim Hewison, DaZhen Gu, Juyang Hu, and Niutao Liu, Focus Group Leads
Kun Zhang, GSICS MW Coordinator
03/27/2026

## Slide 2: MW Sub-group Meetings
2025-05-09
  GSICS Microwave Radiometer Technology and Testing (TT) Focus Group Meeting
2025-06-04
  GSICS Microwave SNO/Vicarious Calibration Focus Group meeting
2025-10-31
  Executive Meeting of MW Sub-Group
2025-11-13
  GSICS Microwave SNO/Vicarious Calibration Focus Group meeting
2026-03-11
  GSICS Microwave Lunar Calibration Focus Group meeting

## Slide 3: MW Sub-Group Team
Focus Group Leader
  GSICS Microwave Lunar Calibration Focus Group: Hu Yang  Niutao Liu
  GSICS Microwave Radiometer Technology and Testing (TT) Focus Group: Dazhen Gu  Juyang Hu
New members
  Boyang Chen
  Pengjuan Yao
  Shi Liu

## Slide 4: Recap of Session I: Microwave Sub-Group Breakout Session, 24-Mar-26 (1/2)
Total 13 Presentations Submitted, 2 Presentations Canceled; Canceled presentations may be postponed to a web meeting
New Sensors Development
In-Orbit Performance and Calibration Stability Assessment of the L-band Aperture Synthesis Microwave Radiometer (LASMR) on HY-4A, Xiaojiao Yang (XISRT)
Validation of Microwave Temperature Sounder III Onboard FengYun-3H in the Post-Launch Phase, Juyang Hu (CMA)
Validation of Microwave Humidity Sounder II Onboard FengYun-3H in the Post-Launch Phase, Yang Guo (CMA)
Calibration of MICAP L/C/K Band Interferometric Radiometers During In-Orbit Commissioning Phase, Jieying HE (NSSC, CAS)

## Slide 5: Recap of Session I: Microwave Sub-Group Breakout Session, 24-Mar-26 (2/2)
New Technologies
Two-Point Calibration and Nonlinearity Adjustment Optimization of FY-3D MWRI Using SNO and Scene-Based Reference Targets, Shi Liu (CMA)
Estimation of IFOV Inter-Channel Deviation for Conical-Scanning Microwave Radiation Imager, Pengjuan Yao (CMA)
Rapid performance assessment of AWS and MWS with all-sky NWP monitoring at ECMWF, David Duncan/Niels Bormann (ECMWF)
A Forward-Looking Framework for High-Precision and Traceable Transfer of Spaceborne Microwave Radiometric Standards, Jieying HE (NSSC, CAS)
Triadic ATMS Constellation: A Limb-Adjusted Microwave Reference for Climate Monitoring and Sensor Validation, Mitch Goldberg (CCNY)
EPS-SG-A1/MWS Performance Assessment at EUMETSAT, Jörg Ackermann (EUMETSAT)-Canceled
Status update of SMBA development, Ed Kim (NASA)-Canceled
Update on EPS-Sterna Inter-calibration Implementation Plan, Tim Hewison (EUMETSAT)
Establishing Standard Atmospheric Profile Datasets for RTM-based Inter-Sensor Microwave Radiometric Calibration Analysis: A Demonstration Using ATMS TDR Data, Banghua Yan (NOAA)

## Slide 6: Recap of Session II: Microwave Sub-Group Breakout Session, 25-Mar-26 (1/2)
Total 9 Presentations Submitted, 2 Group Discussion and 1 Presentation Canceled;
New Sensors Development
Early on-board calibration and cross-calibration results of GOSAT-GW/AMSR3, Misako Kachi (JAXA)
Introduction to OceanSat-3A/MATHS, Prantik Chakraborty (ISRO)-Canceled
OceanSat-3A/MATHS calibration/inter-calibration, Randhir Singh (ISRO)
Focus Group Report
Technology & Testing Focus Group, Juyang Hu (CMA)
Microwave Lunar Focus Group, Niutao Liu (FuDan)
SNO/Vicarious Focus Group, Tim Hewison (EUMETSAT)

## Slide 7: Recap of Session II: Microwave Sub-Group Breakout Session, 25-Mar-26 (2/2)
Small Satellites Constellation
Assessment of Tomorrow.io Microwave Sounder Observations and Performance at NOAA, Flavio Iturbide-Sanchez (NOAA)
Tomorrow.io Microwave Sounder constellation inter-calibration, Joe Munchak (Tomorrow.io)
Discussion on inter-calibration of small satellites (All) - Will consolidate into document outlining key factors for consideration in inter-calibration of small satellites
Hyperspectral microwave sounder Discussion
Proof-of-concept hyperspectral microwave sounders: calibration challenges and development trade-offs, Natalia Bliankenshtein (NRC)
Group Discussion: Defining methods for hyperspectral MW sounders inter-calibration, Flavio Iturbide + Tim Hewison - Hyperspectral-Multispectral: Follow example of IR - Hyperspectral-Hyperspectral: Early days – comparisons are encouraged, as are hyperspectral luinar observations
GSICS Website Requirements Discussion - ICVS already includes some MW sensors inter-comparisons - Other agencies could follow this example as MW inter-comparison results become available - MWSG to review functionality of ICVS and feedback requirements for GSICS plotting tool

## Slide 8: Actions and Recommendations
Action. A.GMW.2026.4f.1: Pengjuan Yao (CMA) to consider application of coastline inflection point analysis to validate geolocation of cross-track scanning instruments.
Action: A.GMW.2026.4m2.1: Banghua Yan (NOAA) to formulate clear recommendation on the applicability of the GNSSRO calibration method with example uncertainties for a range of commonly used channels.
Action: A.GMW.2026.4q.1: ISRO to distribute MATHS data through ISRO’s GSICS server
Action: A.GMW.2026.4s.1: Niutao Liu to set up web meeting on use of Moon to validate microwave sensor pointing and FOV
Action: A.GMW.2026.4t.1: Tim Hewison (EUMETSAT) to review IPWG requirements for microwave imager inter-calibration
Action: A.GRWG.2026.4t.2: Tim Hewison (EUMETSAT) to set up web meetings on the bootstrapping approach to estimating inter-calibration uncertainties, including Lukas Muser to discuss sub-pixel scene variability
Action: A.GMW.2026.4t.3: Tim Hewison (EUMETSAT) to review hybrid SNO+NWP-DD inter-calibration algorithms and circulate to MWSG
Action: A.GMW.2026.4z.1: NOAA could consider making the data behind the ICVS plots available for download
Recommendation: R.GMW.2026.4o.1: Misako with JAXA to inform the MW sub-group of any developments about MW imager cross-calibration methodologies.
Recommendation: R.GMW.2026.4q.2: ISRO to share MATHS results in a separate meeting

## Slide 9: Key Activities and Plans for 2026/2027
Objective: Advance calibration, inter-calibration, and operational readiness of next-generation microwave observations, including commercial and emerging sensor technologies.
Governance & Engagement
Quarterly meetings led by Focus Group Leaders
Clear deliverables and cross-agency collaboration
Core Technical Priorities
Inter-calibration using SNOs (including SmallSat and commercial sensors)
Evaluation of new systems (e.g., EPS-SG MWS, emerging microwave sensors)
Standardization of noise characterization and uncertainty (NeDT, cross-correlation)
Emerging Technologies
Hyperspectral microwave sensors
Pseudo-correlation radiometers
Dual-polarization radiometer designs
Key Deliverables
GSICS microwave calibration best practices/guidelines
Annual inter-calibration and assessment reports
Technical notes on commercial and next-generation sensors
Strategic Goal: Position GSICS as the reference authority for calibration and harmonization of next-generation microwave observations

## Slide 10: Thanks