## Slide 1
GOME-2 in-orbit performance
Pieter Valks, Gabriele Poli, Rasmus Lindstrot
GSICS UVN-S Breakout Session 24 March 2026

## Slide 2: Content of the presentation
Metop-B mission EOL extended to 2030
Impact on GOME-2 Solar Visibility
Solar Model performance with impact on GOME-2 L2 products (ozone and NO2)
GOME-2 instrument throughput and degradation correction
ESA FDR4ATMOS project

## Slide 3: Metop-B OOP Manoeuvre (Sep. 2025) to extend lifetime to 2030

## Slide 4: Metop-B GOME-2 Loss of Sun Visibility
Green LTDN 09:30 UTC
Grey LTDN 09:00 UTC
Pink LTDN 08:00 UTC
Red LTDN 06:00 UTC
Metop Orbit decaying Local Time of Descending Node
(LTDN)
To Sun
Satellite Flight Direction
Orbit with nominal LTDN
To Sun
Satellite Flight Direction
Orbit with decayed LTDN
  Sun enters FOV of Sun Port for Solar calibrations
  Eclipses allow other calibrations without stray-light pollution
  No Sun in FOV of Sun Port
  No eclipses so other calibrations suffer stray-light pollution.
Solar Gap GOME-2 / Metop-B |  | 
 | Start | Stop
2nd | 28.12.2024 | 19.03.2025
3rd | 25.11.2025 | 28.03.2026
4th | 07.11.2026 | 09.04.2027
5th | 24.08.2027 | 29.04.2028
 | 25.07.2028 | End of mission

## Slide 5: Empirical Solar Model for GOME-2
Coefficients P1 to P10 together with the external parameters are fully describing the information content and evolution of the GOME-2 solar main channel measurement
Aux data
GOME-2B OBM
Derived from GOME-2C

## Slide 6: GOME-2 Solar Model performance
Analysis for current solar gap – Model vs GOME-2B SMR (before start of gap)

## Slide 7: GOME-2 Solar Model performance
Ozone slant column difference (meas. SMR vs solar model)

## Slide 8: GOME-2 Solar Model performance
NO2 slant column difference (meas. SMR vs solar model)

## Slide 9: GOME-2B SMR Throughput (normalised)
PMD-P
PMD-S
320 nm
240 nm
400 nm
310 nm
600 nm
400 nm
780 nm
580 nm

## Slide 10: GOME-2C SMR Throughput (normalised)
PMD-P
PMD-S
320 nm
240 nm
400 nm
310 nm
600 nm
400 nm
780 nm
580 nm

## Slide 11: GOME-2 SMR Throughput comparison (same time in orbit)

## Slide 12: GOME-2 L1B degradation correction
    Degradation model using measurements over Sahara (20-30°N, 0-30°E)
      Cloud free measurements (cloud fraction < 0.05)
    SMR and Earthshine degradation coefficients for each viewing angle
      set of coefficients (ASCII-files) to correct main science channels (FPA) and PMD L1B data
      include one year forecast (for NRT applications)
    Long-term change in reflectivity (differential degradation) with strong viewing angle dependence
      polarisation dependent scan mirror degradation/contamination effects

## Slide 13: GOME-2 L1B - Throughput 330 nm (Ch. 2) scan pos 1 (east)
SMR
Earthshine (Sahara)
Reflectivity (Sahara)

## Slide 14: GOME-2 L1B - Throughput 330 nm (Ch. 2) scan pos 24 (west)
SMR
Earthshine (Sahara)
Reflectivity (Sahara)

## Slide 15: GOME-2 L1B - Refl. Degr. Model scan pos 1 (east)

## Slide 16: GOME-2 L1B - Refl. Degr. Model scan pos 24 (west)

## Slide 17: GOME-2 L1B degradation correction
Degradation coefficients available for GOME-2 on Metop-A, -B and -C
Solar spectrum (SMR) for FPA, PMD-p, and PMD-S: cSMR (l,t)
Earthshine spectrum for 24 fixed angles and for FPA, PMD-p, and PMD-S: cEarth (l,f,t)
Degradation coefficients available for users (via EUMETSAT FTP-site)
Earthcorr = Earth / cEarth (l,f,t)
SMRcorr = SMR / cSMR (l,t)

## Slide 18: FDR4ATMOS project
The FDR4ATMOS project delivers FDRs on Level 1 Basis
It is funded by ESA LTDP program
The FDR provides harmonised reflectances and solar irradiances
Version 1 included the full GOME and SCIAMACHY missions providing harmonised data from 1995 – 2012
Currently the project is in phase 3. In it
  GOME-2 data will be added in cooperation with EUMETSAT→ FDR from 1995-2024+
  GOME-1 reflectances are degradation corrected (top right)
  V2 solar irradiances are harmonised to the TSIS-HSRS spectrum, not SCIAMACHY (example bottom right)
  Review and add Level 1 uncertainties
  Provide lunar products
Current Status
  Harmonisation of solar irradiances is finished
  First harmonisation curves for GOME-2 are calculated
  Quality checking and Level 2 tests are on-going
  Planned Data Delivery: Begin 2027
Slide provided by Günter Lichtenberg, DLR

## Slide 19
Thank you!
Questions are welcome.