## Slide 1: GEMS Status and Calibration Update
Geostationary Environmental Monitoring Spectrometer
March 25, 2026
GSICS Annual and Executive Panel Meeting 2026

## Slide 2: 1. GEMS Status 2. Analysis of Radiometric correction 3. Analysis of Geometric correction

## Slide 3: 1. GEMS Status

## Slide 4
1
GEMS Status
GEMS L0 monitoring
Solar irradiance (WSD) : total 2110 obs.(1/day) -> approx. 8.14% reduce(linear)
Solar irradiance (RSD) : total 14 obs. (2/year) -> approx. 2% reduce
WSD: -8.14%
RSD: -2.02%
Diffuser + Optical part
Optical part
*WSD: Working Solar Diffuser, RSD: Reference Solar Diffuser

## Slide 5
1
GEMS Status
GEMS L0 monitoring
Attenuation prediction for operation until 2033*: RSD 3.4%. WSD 11.5% (Conservative attenuation approx. 15%)
Adjustment solar obs. cycle(daily -> weekly) attenuation: attenuation delay from 11.5% to approx. 8.9%
Chart: GEMS CCD Total Digital Counts (WSD, RSD): ‘20-’33
| 43944 | 43945 | 43946 | 43948 | 43950 | 43951 | 43952 | 43953 | 43954 | 43955 | 43956 | 43957 | 43958 | 43959 | 43960 | 43961 | 43962 | 43963 | 43964 | 43965 | 43966 | 43967 | 43968 | 43969 | 43970 | 43971 | 43972 | 43974 | 43975 | 43976 | 43977 | 43978 | 43979 | 43980 | 43981 | 43982 | 43983 | 43984 | 43985 | 43986 | 43987 | 43989 | 43990 | 43991 | 43992 | 43993 | 43994 | 43995 | 43996 | 43997 | 43998 | 43999 | 44000 | 44001 | 44002 | 44003 | 44004 | 44005 | 44006 | 44007 | 44008 | 44009 | 44010 | 44011 | 44012 | 44013 | 44014 | 44015 | 44016 | 44017 | 44018 | 44019 | 44020 | 44021 | 44022 | 44023 | 44024 | 44025 | 44026 | 44027 | 44028 | 44029 | 44030 | 44031 | 44032 | 44033 | 44034 | 44035 | 44036 | 44037 | 44038 | 44039 | 44040 | 44041 | 44042 | 44043 | 44044 | 44045 | 44046 | 44047 | 44048 | 44049 | 44050 | 44051 | 44052 | 44053 | 44054 | 44055 | 44056 | 44057 | 44058 | 44059 | 44060 | 44062 | 44063 | 44064 | 44065 | 44066 | 44067 | 44068 | 44069 | 44070 | 44071 | 44072 | 44073 | 44074 | 44075 | 44076 | 44077 | 44078 | 44079 | 44080 | 44081 | 44082 | 44083 | 44084 | 44085 | 44086 | 44087 | 44088 | 44089 | 44090 | 44091 | 44092 | 44093 | 44094 | 44095 | 44097 | 44098 | 44099 | 44100 | 44101 | 44102 | 44103 | 44104 | 44105 | 44106 | 44107 | 44108 | 44109 | 44110 | 44111 | 44112 | 44113 | 44114 | 44115 | 44116 | 44117 | 44118 | 44119 | 44120 | 44121 | 44122 | 44123 | 44124 | 44125 | 44126 | 44127 | 44128 | 44129 | 44130 | 44131 | 44132 | 44133 | 44134 | 44135 | 44136 | 44137 | 44138 | 44139 | 44140 | 44141 | 44142 | 44143 | 44144 | 44145 | 44146 | 44147 | 44148 | 44149 | 44150 | 44151 | 44152 | 44153 | 44154 | 44155 | 44156 | 44157 | 44158 | 44159 | 44160 | 44161 | 44162 | 44163 | 44164 | 44165 | 44166 | 44167 | 44168 | 44169 | 44170 | 44171 | 44172 | 44173 | 44174 | 44175 | 44176 | 44177 | 44178 | 44179 | 44180 | 44181 | 44182 | 44183 | 44184 | 44186 | 44187 | 44188 | 44189 | 44190 | 44191 | 44192 | 44193 | 44194 | 44195 | 44196 | 44197 | 44198 | 44199 | 44200 | 44201 | 44202 | 44203 | 44204 | 44205 | 44206 | 44207 | 44208 | 44209 | 44210 | 44211 | 44212 | 44213 | 44214 | 44215 | 44216 | 44217 | 44218 | 44219 | 44220 | 44221 | 44222 | 44223 | 44224 | 44225 | 44226 | 44227 | 44228 | 44229 | 44230 | 44231 | 44232 | 44233 | 44234 | 44235 | 44236 | 44237 | 44238 | 44239 | 44240 | 44241 | 44242 | 44243 | 44244 | 44245 | 44246 | 44247 | 44248 | 44249 | 44250 | 44251 | 44252 | 44253 | 44254 | 44255 | 44256 | 44257 | 44258 | 44259 | 44260 | 44261 | 44262 | 44263 | 44264 | 44265 | 44266 | 44267 | 44268 | 44269 | 44270 | 44271 | 44272 | 44273 | 44274 | 44276 | 44277 | 44278 | 44279 | 44280 | 44281 | 44282 | 44283 | 44284 | 44285 | 44286 | 44287 | 44288 | 44289 | 44290 | 44291 | 44292 | 44293 | 44294 | 44295 | 44296 | 44297 | 44298 | 44299 | 44300 | 44301 | 44302 | 44303 | 44304 | 44305 | 44306 | 44307 | 44308 | 44309 | 44310 | 44311 | 44312 | 44313 | 44314 | 44315 | 44316 | 44317 | 44318 | 44319 | 44320 | 44321 | 44322 | 44323 | 44324 | 44325 | 44326 | 44327 | 44328 | 44329 | 44330 | 44331 | 44332 | 44333 | 44334 | 44335 | 44336 | 44337 | 44338 | 44339 | 44340 | 44341 | 44342 | 44343 | 44344 | 44345 | 44346 | 44347 | 44348 | 44349 | 44350 | 44351 | 44352 | 44353 | 44354 | 44355 | 44356 | 44357 | 44358 | 44359 | 44360 | 44361 | 44362 | 44363 | 44364 | 44365 | 44366 | 44367 | 44369 | 44370 | 44371 | 44372 | 44373 | 44374 | 44375 | 44376 | 44377 | 44378 | 44379 | 44380 | 44381 | 44382 | 44383 | 44384 | 44385 | 44386 | 44387 | 44388 | 44389 | 44390 | 44391 | 44392 | 44393 | 44394 | 44395 | 44396 | 44397 | 44398 | 44399 | 44400 | 44401 | 44402 | 44403 | 44404 | 44405 | 44406 | 44407 | 44408 | 44409 | 44410 | 44411 | 44412 | 44413 | 44414 | 44415 | 44416 | 44417 | 44418 | 44419 | 44420 | 44421 | 44422 | 44423 | 44424 | 44425 | 44426 | 44427 | 44428 | 44429 | 44430 | 44431 | 44432 | 44433 | 44434 | 44435 | 44436 | 44437 | 44438 | 44439 | 44440 | 44441 | 44442 | 44443 | 44444 | 44445 | 44446 | 44447 | 44448 | 44449 | 44450 | 44451 | 44452 | 44453 | 44454 | 44455 | 44456 | 44457 | 44458 | 44459 | 44460 | 44461 | 44463 | 44464 | 44465 | 44466 | 44467 | 44468 | 44469 | 44470 | 44471 | 44472 | 44473 | 44474 | 44475 | 44476 | 44477 | 44478 | 44479 | 44480 | 44481 | 44482 | 44483 | 44484 | 44485 | 44486 | 44487 | 44488 | 44489 | 44490 | 44491 | 44492 | 44493 | 44494 | 44495 | 44496 | 44497 | 44498 | 44499 | 44500 | 44501 | 44502 | 44503 | 44504 | 44505 | 44506 | 44507 | 44508 | 44509 | 44510 | 44511 | 44512 | 44513 | 44514 | 44515 | 44516 | 44517 | 44518 | 44519 | 44520 | 44521 | 44522 | 44523 | 44524 | 44525 | 44526 | 44527 | 44528 | 44529 | 44530 | 44531 | 44532 | 44533 | 44534 | 44535 | 44536 | 44537 | 44538 | 44539 | 44540 | 44541 | 44542 | 44543 | 44544 | 44545 | 44546 | 44547 | 44548 | 44549 | 44550 | 44551 | 44552 | 44553 | 44554 | 44555 | 44556 | 44557 | 44558 | 44559 | 44560 | 44561 | 44562 | 44563 | 44564 | 44565 | 44566 | 44567 | 44568 | 44569 | 44570 | 44571 | 44572 | 44574 | 44575 | 44576 | 44577 | 44578 | 44579 | 44580 | 44581 | 44582 | 44583 | 44584 | 44585 | 44586 | 44587 | 44588 | 44589 | 44590 | 44591 | 44592 | 44593 | 44594 | 44595 | 44596 | 44597 | 44598 | 44599 | 44600 | 44601 | 44602 | 44603 | 44604 | 44605 | 44606 | 44607 | 44608 | 44609 | 44610 | 44611 | 44612 | 44613 | 44614 | 44615 | 44616 | 44617 | 44618 | 44619 | 44620 | 44621 | 44622 | 44623 | 44624 | 44625 | 44626 | 44627 | 44628 | 44629 | 44630 | 44631 | 44632 | 44633 | 44634 | 44635 | 44636 | 44637 | 44638 | 44639 | 44640 | 44642 | 44643 | 44644 | 44645 | 44646 | 44647 | 44648 | 44649 | 44650 | 44651 | 44653 | 44654 | 44655 | 44656 | 44657 | 44658 | 44659 | 44660 | 44661 | 44662 | 44663 | 44664 | 44665 | 44666 | 44667 | 44668 | 44669 | 44670 | 44671 | 44672 | 44673 | 44674 | 44675 | 44676 | 44677 | 44678 | 44679 | 44680 | 44681 | 44682 | 44683 | 44684 | 44685 | 44686 | 44687 | 44688 | 44689 | 44690 | 44691 | 44692 | 44693 | 44694 | 44695 | 44696 | 44697 | 44698 | 44699 | 44700 | 44701 | 44702 | 44703 | 44704 | 44705 | 44706 | 44707 | 44708 | 44709 | 44710 | 44711 | 44712 | 44713 | 44714 | 44715 | 44716 | 44717 | 44718 | 44719 | 44720 | 44721 | 44722 | 44723 | 44724 | 44725 | 44726 | 44727 | 44728 | 44729 | 44730 | 44731 | 44732 | 44733 | 44734 | 44735 | 44736 | 44737 | 44738 | 44739 | 44740 | 44741 | 44742 | 44743 | 44744 | 44745 | 44746 | 44747 | 44748 | 44749 | 44750 | 44751 | 44752 | 44753 | 44754 | 44755 | 44756 | 44757 | 44758 | 44759 | 44760 | 44761 | 44762 | 44763 | 44764 | 44765 | 44766 | 44767 | 44768 | 44769 | 44770 | 44771 | 44772 | 44773 | 44774 | 44775 | 44776 | 44777 | 44779 | 44780 | 44781 | 44782 | 44783 | 44784 | 44785 | 44786 | 44787 | 44788 | 44789 | 44790 | 44791 | 44792 | 44793 | 44794 | 44795 | 44796 | 44797 | 44798 | 44799 | 44800 | 44801 | 44802 | 44803 | 44804 | 44805 | 44806 | 44808 | 44809 | 44810 | 44811 | 44812 | 44813 | 44814 | 44815 | 44816 | 44817 | 44818 | 44819 | 44820 | 44821 | 44822 | 44823 | 44824 | 44825 | 44826 | 44828 | 44829 | 44830 | 44831 | 44832 | 44833 | 44834 | 44835 | 44836 | 44837 | 44838 | 44839 | 44840 | 44841 | 44842 | 44843 | 44844 | 44845 | 44846 | 44847 | 44848 | 44849 | 44850 | 44851 | 44852 | 44853 | 44854 | 44855 | 44856 | 44857 | 44858 | 44859 | 44860 | 44861 | 44862 | 44863 | 44864 | 44865 | 44866 | 44867 | 44868 | 44869 | 44870 | 44871 | 44872 | 44873 | 44874 | 44875 | 44876 | 44877 | 44878 | 44879 | 44880 | 44881 | 44882 | 44883 | 44884 | 44885 | 44886 | 44887 | 44888 | 44889 | 44890 | 44891 | 44892 | 44893 | 44894 | 44895 | 44896 | 44897 | 44898 | 44899 | 44900 | 44901 | 44902 | 44903 | 44904 | 44905 | 44906 | 44907 | 44908 | 44909 | 44910 | 44911 | 44912 | 44913 | 44914 | 44915 | 44916 | 44917 | 44918 | 44919 | 44920 | 44921 | 44922 | 44923 | 44924 | 44925 | 44926 | 44927 | 44928 | 44929 | 44930 | 44931 | 44932 | 44933 | 44934 | 44935 | 44936 | 44937 | 44938 | 44939 | 44940 | 44941 | 44942 | 44943 | 44944 | 44945 | 44946 | 44947 | 44948 | 44949 | 44950 | 44951 | 44952 | 44953 | 44954 | 44955 | 44956 | 44957 | 44958 | 44959 | 44960 | 44961 | 44962 | 44963 | 44964 | 44965 | 44966 | 44967 | 44968 | 44969 | 44970 | 44971 | 44972 | 44973 | 44974 | 44975 | 44976 | 44977 | 44978 | 44979 | 44980 | 44981 | 44982 | 44983 | 44984 | 44985 | 44986 | 44987 | 44988 | 44989 | 44990 | 44991 | 44992 | 44993 | 44994 | 44995 | 44996 | 44997 | 44998 | 44999 | 45000 | 45001 | 45002 | 45003 | 45004 | 45005 | 45007 | 45008 | 45009 | 45010 | 45011 | 45012 | 45013 | 45014 | 45015 | 45016 | 45017 | 45018 | 45019 | 45020 | 45021 | 45022 | 45023 | 45024 | 45025 | 45026 | 45027 | 45028 | 45029 | 45030 | 45031 | 45032 | 45033 | 45034 | 45035 | 45036 | 45037 | 45038 | 45039 | 45040 | 45041 | 45042 | 45043 | 45044 | 45045 | 45046 | 45047 | 45048 | 45049 | 45050 | 45051 | 45052 | 45053 | 45054 | 45055 | 45056 | 45057 | 45058 | 45059 | 45060 | 45061 | 45062 | 45063 | 45064 | 45065 | 45066 | 45067 | 45068 | 45069 | 45070 | 45071 | 45072 | 45073 | 45074 | 45075 | 45076 | 45077 | 45078 | 45079 | 45080 | 45081 | 45082 | 45083 | 45084 | 45085 | 45087 | 45088 | 45089 | 45090 | 45091 | 45092 | 45093 | 45094 | 45095 | 45096 | 45097 | 45098 | 45099 | 45100 | 45101 | 45102 | 45103 | 45104 | 45105 | 45106 | 45107 | 45108 | 45109 | 45110 | 45111 | 45112 | 45113 | 45114 | 45115 | 45116 | 45117 | 45118 | 45119 | 45120 | 45121 | 45122 | 45123 | 45125 | 45126 | 45127 | 45128 | 45129 | 45130 | 45131 | 45132 | 45133 | 45134 | 45135 | 45136 | 45137 | 45138 | 45139 | 45140 | 45141 | 45142 | 45143 | 45144 | 45145 | 45146 | 45147 | 45148 | 45149 | 45150 | 45151 | 45152 | 45153 | 45154 | 45155 | 45156 | 45157 | 45158 | 45159 | 45160 | 45161 | 45162 | 45163 | 45164 | 45165 | 45166 | 45167 | 45168 | 45169 | 45170 | 45171 | 45172 | 45173 | 45174 | 45175 | 45176 | 45177 | 45178 | 45179 | 45180 | 45181 | 45182 | 45183 | 45184 | 45185 | 45186 | 45187 | 45188 | 45189 | 45190 | 45191 | 45194 | 45195 | 45196 | 45197 | 45198 | 45199 | 45200 | 45201 | 45202 | 45203 | 45204 | 45205 | 45206 | 45207 | 45208 | 45209 | 45210 | 45211 | 45212 | 45213 | 45214 | 45215 | 45216 | 45217 | 45218 | 45219 | 45220 | 45221 | 45222 | 45223 | 45224 | 45225 | 45226 | 45227 | 45228 | 45229 | 45230 | 45231 | 45232 | 45233 | 45234 | 45235 | 45236 | 45237 | 45238 | 45239 | 45240 | 45241 | 45242 | 45243 | 45244 | 45245 | 45246 | 45247 | 45248 | 45249 | 45250 | 45251 | 45252 | 45253 | 45254 | 45255 | 45256 | 45257 | 45258 | 45259 | 45260 | 45261 | 45262 | 45263 | 45264 | 45265 | 45266 | 45267 | 45268 | 45269 | 45271 | 45272 | 45273 | 45274 | 45275 | 45276 | 45277 | 45278 | 45279 | 45280 | 45281 | 45282 | 45283 | 45284 | 45285 | 45286 | 45287 | 45288 | 45289 | 45290 | 45291 | 45292 | 45293 | 45294 | 45295 | 45296 | 45297 | 45298 | 45299 | 45300 | 45301 | 45302 | 45303 | 45304 | 45305 | 45306 | 45307 | 45308 | 45309 | 45310 | 45311 | 45312 | 45313 | 45314 | 45315 | 45316 | 45317 | 45318 | 45319 | 45320 | 45321 | 45322 | 45323 | 45324 | 45325 | 45326 | 45327 | 45328 | 45329 | 45330 | 45331 | 45332 | 45333 | 45334 | 45335 | 45336 | 45337 | 45338 | 45339 | 45340 | 45341 | 45342 | 45343 | 45344 | 45345 | 45346 | 45347 | 45348 | 45349 | 45350 | 45351 | 45352 | 45353 | 45354 | 45355 | 45356 | 45357 | 45358 | 45359 | 45360 | 45361 | 45362 | 45363 | 45364 | 45365 | 45366 | 45367 | 45368 | 45369 | 45370 | 45372 | 45373 | 45374 | 45375 | 45376 | 45377 | 45378 | 45379 | 45380 | 45381 | 45382 | 45383 | 45384 | 45385 | 45386 | 45387 | 45388 | 45389 | 45390 | 45391 | 45392 | 45393 | 45394 | 45395 | 45396 | 45397 | 45398 | 45399 | 45400 | 45401 | 45402 | 45403 | 45404 | 45405 | 45406 | 45407 | 45408 | 45409 | 45410 | 45411 | 45412 | 45413 | 45414 | 45415 | 45416 | 45417 | 45418 | 45419 | 45420 | 45421 | 45422 | 45423 | 45424 | 45425 | 45426 | 45427 | 45428 | 45429 | 45430 | 45431 | 45432 | 45433 | 45434 | 45435 | 45436 | 45437 | 45438 | 45439 | 45440 | 45441 | 45442 | 45443 | 45444 | 45445 | 45446 | 45447 | 45448 | 45449 | 45450 | 45451 | 45452 | 45453 | 45454 | 45455 | 45456 | 45457 | 45458 | 45459 | 45460 | 45461 | 45462 | 45463 | 45464 | 45465 | 45466 | 45467 | 45468 | 45469 | 45470 | 45471 | 45472 | 45473 | 45474 | 45475 | 45476 | 45477 | 45478 | 45479 | 45480 | 45481 | 45482 | 45483 | 45484 | 45485 | 45486 | 45487 | 45488 | 45489 | 45490 | 45491 | 45492 | 45493 | 45494 | 45495 | 45496 | 45497 | 45498 | 45499 | 45500 | 45501 | 45502 | 45503 | 45504 | 45505 | 45506 | 45507 | 45508 | 45509 | 45510 | 45511 | 45512 | 45513 | 45514 | 45515 | 45516 | 45517 | 45518 | 45519 | 45520 | 45521 | 45522 | 45523 | 45524 | 45525 | 45526 | 45527 | 45528 | 45529 | 45530 | 45531 | 45532 | 45533 | 45534 | 45535 | 45536 | 45537 | 45538 | 45539 | 45540 | 45541 | 45542 | 45543 | 45544 | 45545 | 45546 | 45547 | 45548 | 45549 | 45550 | 45551 | 45552 | 45553 | 45554 | 45555 | 45556 | 45558 | 45559 | 45560 | 45561 | 45562 | 45563 | 45564 | 45565 | 45566 | 45567 | 45568 | 45569 | 45570 | 45571 | 45572 | 45573 | 45574 | 45575 | 45576 | 45577 | 45578 | 45579 | 45580 | 45581 | 45582 | 45583 | 45584 | 45585 | 45586 | 45587 | 45588 | 45589 | 45590 | 45591 | 45592 | 45593 | 45594 | 45595 | 45596 | 45597 | 45598 | 45599 | 45600 | 45601 | 45602 | 45603 | 45604 | 45605 | 45606 | 45607 | 45608 | 45609 | 45610 | 45611 | 45612 | 45613 | 45614 | 45615 | 45616 | 45617 | 45618 | 45619 | 45620 | 45621 | 45622 | 45623 | 45624 | 45625 | 45626 | 45627 | 45628 | 45629 | 45630 | 45631 | 45632 | 45633 | 45634 | 45635 | 45636 | 45637 | 45638 | 45639 | 45640 | 45641 | 45642 | 45643 | 45644 | 45645 | 45646 | 45647 | 45648 | 45649 | 45650 | 45651 | 45652 | 45653 | 45654 | 45655 | 45656 | 45657 | 45658 | 45659 | 45660 | 45661 | 45662 | 45663 | 45664 | 45665 | 45666 | 45667 | 45668 | 45669 | 45670 | 45671 | 45672 | 45673 | 45674 | 45675 | 45676 | 45677 | 45678 | 45679 | 45680 | 45681 | 45682 | 45683 | 45684 | 45685 | 45686 | 45687 | 45688 | 45689 | 45690 | 45691 | 45692 | 45693 | 45694 | 45695 | 45696 | 45697 | 45698 | 45699 | 45700 | 45701 | 45702 | 45703 | 45704 | 45705 | 45706 | 45707 | 45708 | 45709 | 45710 | 45711 | 45712 | 45713 | 45714 | 45715 | 45716 | 45717 | 45718 | 45719 | 45720 | 45721 | 45722 | 45723 | 45724 | 45725 | 45726 | 45727 | 45728 | 45729 | 45730 | 45731 | 45732 | 45733 | 45734 | 45735 | 45737 | 45738 | 45739 | 45740 | 45741 | 45742 | 45743 | 45744 | 45745 | 45746 | 45747 | 45748 | 45749 | 45750 | 45751 | 45752 | 45753 | 45754 | 45755 | 45756 | 45757 | 45758 | 45759 | 45760 | 45761 | 45762 | 45763 | 45764 | 45765 | 45766 | 45767 | 45768 | 45769 | 45770 | 45771 | 45772 | 45773 | 45774 | 45775 | 45776 | 45777 | 45778 | 45779 | 45780 | 45781 | 45782 | 45783 | 45784 | 45785 | 45786 | 45787 | 45788 | 45789 | 45790 | 45791 | 45792 | 45793 | 45794 | 45795 | 45796 | 45797 | 45798 | 45799 | 45800 | 45801 | 45802 | 45803 | 45804 | 45805 | 45806 | 45807 | 45808 | 45809 | 45810 | 45811 | 45812 | 45813 | 45814 | 45815 | 45816 | 45817 | 45818 | 45819 | 45820 | 45821 | 45822 | 45823 | 45824 | 45825 | 45826 | 45827 | 45828 | 45829 | 45830 | 45831 | 45832 | 45833 | 45834 | 45835 | 45836 | 45837 | 45838 | 45839 | 45840 | 45841 | 45842 | 45843 | 45844 | 45845 | 45846 | 45847 | 45848 | 45849 | 45850 | 45851 | 45852 | 45853 | 45854 | 45855 | 45856 | 45857 | 45858 | 45859 | 45860 | 45861 | 45862 | 45863 | 45864 | 45865 | 45866 | 45867 | 45868 | 45869 | 45870 | 45871 | 45872 | 45873 | 45874 | 45875 | 45876 | 45877 | 45878 | 45879 | 45880 | 45881 | 45882 | 45883 | 45884 | 45885 | 45886 | 45887 | 45888 | 45889 | 45890 | 45891 | 45892 | 45893 | 45894 | 45895 | 45896 | 45897 | 45898 | 45899 | 45900 | 45901 | 45902 | 45903 | 45904 | 45905 | 45906 | 45907 | 45908 | 45909 | 45910 | 45911 | 45912 | 45913 | 45914 | 45915 | 45916 | 45917 | 45918 | 45919 | 45920 | 45921 | 45922 | 45924 | 45925 | 45926 | 45927 | 45928 | 45929 | 45930 | 45931 | 45932 | 45933 | 45934 | 45935 | 45936 | 45937 | 45938 | 45939 | 45940 | 45941 | 45942 | 45943 | 45944 | 45945 | 45946 | 45947 | 45948 | 45949 | 45950 | 45951 | 45952 | 45953 | 45954 | 45955 | 45956 | 45957 | 45958 | 45959 | 45960 | 45961 | 45962 | 45963 | 45964 | 45965 | 45966 | 45967 | 45968 | 45969 | 45970 | 45971 | 45972 | 45973 | 45974 | 45975 | 45976 | 45977 | 45978 | 45979 | 45980 | 45981 | 45982 | 45983 | 45984 | 45985 | 45986 | 45987 | 45988 | 45989 | 45990 | 45991 | 45992 | 45993 | 45994 | 45995 | 45996 | 45997 | 45998 | 45999 | 46000 | 46001 | 46002 | 46003 | 46004 | 46005 | 46006 | 46007 | 46008 | 46009 | 46010 | 46011 | 46012 | 46013 | 46014 | 46015 | 46016 | 46017 | 46018 | 46019 | 46020 | 46021 | 46022 | 46023 | 46024 | 46025 | 46026 | 46027 | 46028 | 46029 | 46030 | 46031 | 46032 | 46033 | 46034 | 46035 | 46036 | 46037 | 46038 | 46039 | 46040 | 46041 | 46042 | 46043 | 46044 | 46045 | 46046 | 46047 | 46048 | 46049 | 46050 | 46051 | 46052 | 46053 | 46054 | 46055 | 46056 | 46057 | 46058 | 46059 | 46060 | 46061 | 46062 | 46063 | 46064 | 46065 | 46066 | 46067 | 46068 | 46069 | 46070 | 46071 | 46072 | 46073 | 46074 | 46075 | 46076 | 46077 | 46078 | 46079 | 46080 | 46081 | 46082 | 46083 | 46084 | 46085 | 46086 | 46087 | 46088 | 46089 | 46090 | 46091 | 46092 | 46093 | 46094 | 46095 | 46096 | 46097 | 46098 | 46099 | 46100 | 46101 | 46102 | 46103 | 46104 | 46105 | 46106 | 46107 | 46108 | 46109 | 46110 | 46111 | 46112 | 46113 | 46114 | 46115 | 46116 | 46117 | 46118 | 46119 | 46120 | 46121 | 46122 | 46123 | 46124 | 46125 | 46126 | 46127 | 46128 | 46129 | 46130 | 46131 | 46132 | 46133 | 46134 | 46135 | 46136 | 46137 | 46138 | 46139 | 46140 | 46141 | 46142 | 46143 | 46144 | 46145 | 46146 | 46147 | 46148 | 46149 | 46150 | 46151 | 46152 | 46153 | 46154 | 46155 | 46156 | 46157 | 46158 | 46159 | 46160 | 46161 | 46162 | 46163 | 46164 | 46165 | 46166 | 46167 | 46168 | 46169 | 46170 | 46171 | 46172 | 46173 | 46174 | 46175 | 46176 | 46177 | 46178 | 46179 | 46180 | 46181 | 46182 | 46183 | 46184 | 46185 | 46186 | 46187 | 46188 | 46189 | 46190 | 46191 | 46192 | 46193 | 46194 | 46195 | 46196 | 46197 | 46198 | 46199 | 46200 | 46201 | 46202 | 46203 | 46204 | 46205 | 46206 | 46207 | 46208 | 46209 | 46210 | 46211 | 46212 | 46213 | 46214 | 46215 | 46216 | 46217 | 46218 | 46219 | 46220 | 46221 | 46222 | 46223 | 46224 | 46225 | 46226 | 46227 | 46228 | 46229 | 46230 | 46231 | 46232 | 46233 | 46234 | 46235 | 46236 | 46237 | 46238 | 46239 | 46240 | 46241 | 46242 | 46243 | 46244 | 46245 | 46246 | 46247 | 46248 | 46249 | 46250 | 46251 | 46252 | 46253 | 46254 | 46255 | 46256 | 46257 | 46258 | 46259 | 46260 | 46261 | 46262 | 46263 | 46264 | 46265 | 46266 | 46267 | 46268 | 46269 | 46270 | 46271 | 46272 | 46273 | 46274 | 46275 | 46276 | 46277 | 46278 | 46279 | 46280 | 46281 | 46282 | 46283 | 46284 | 46285 | 46286 | 46287 | 46288 | 46289 | 46290 | 46291 | 46292 | 46293 | 46294 | 46295 | 46296 | 46297 | 46298 | 46299 | 46300 | 46301 | 46302 | 46303 | 46304 | 46305 | 46306 | 46307 | 46308 | 46309 | 46310 | 46311 | 46312 | 46313 | 46314 | 46315 | 46316 | 46317 | 46318 | 46319 | 46320 | 46321 | 46322 | 46323 | 46324 | 46325 | 46326 | 46327 | 46328 | 46329 | 46330 | 46331 | 46332 | 46333 | 46334 | 46335 | 46336 | 46337 | 46338 | 46339 | 46340 | 46341 | 46342 | 46343 | 46344 | 46345 | 46346 | 46347 | 46348 | 46349 | 46350 | 46351 | 46352 | 46353 | 46354 | 46355 | 46356 | 46357 | 46358 | 46359 | 46360 | 46361 | 46362 | 46363 | 46364 | 46365 | 46366 | 46367 | 46368 | 46369 | 46370 | 46371 | 46372 | 46373 | 46374 | 46375 | 46376 | 46377 | 46378 | 46379 | 46380 | 46381 | 46382 | 46383 | 46384 | 46385 | 46386 | 46387 | 46388 | 46389 | 46390 | 46391 | 46392 | 46393 | 46394 | 46395 | 46396 | 46397 | 46398 | 46399 | 46400 | 46401 | 46402 | 46403 | 46404 | 46405 | 46406 | 46407 | 46408 | 46409 | 46410 | 46411 | 46412 | 46413 | 46414 | 46415 | 46416 | 46417 | 46418 | 46419 | 46420 | 46421 | 46422 | 46423 | 46424 | 46425 | 46426 | 46427 | 46428 | 46429 | 46430 | 46431 | 46432 | 46433 | 46434 | 46435 | 46436 | 46437 | 46438 | 46439 | 46440 | 46441 | 46442 | 46443 | 46444 | 46445 | 46446 | 46447 | 46448 | 46449 | 46450 | 46451 | 46452 | 46453 | 46454 | 46455 | 46456 | 46457 | 46458 | 46459 | 46460 | 46461 | 46462 | 46463 | 46464 | 46465 | 46466 | 46467 | 46468 | 46469 | 46470 | 46471 | 46472 | 46473 | 46474 | 46475 | 46476 | 46477 | 46478 | 46479 | 46480 | 46481 | 46482 | 46483 | 46484 | 46485 | 46486 | 46487 | 46488 | 46489 | 46490 | 46491 | 46492 | 46493 | 46494 | 46495 | 46496 | 46497 | 46498 | 46499 | 46500 | 46501 | 46502 | 46503 | 46504 | 46505 | 46506 | 46507 | 46508 | 46509 | 46510 | 46511 | 46512 | 46513 | 46514 | 46515 | 46516 | 46517 | 46518 | 46519 | 46520 | 46521 | 46522 | 46523 | 46524 | 46525 | 46526 | 46527 | 46528 | 46529 | 46530 | 46531 | 46532 | 46533 | 46534 | 46535 | 46536 | 46537 | 46538 | 46539 | 46540 | 46541 | 46542 | 46543 | 46544 | 46545 | 46546 | 46547 | 46548 | 46549 | 46550 | 46551 | 46552 | 46553 | 46554 | 46555 | 46556 | 46557 | 46558 | 46559 | 46560 | 46561 | 46562 | 46563 | 46564 | 46565 | 46566 | 46567 | 46568 | 46569 | 46570 | 46571 | 46572 | 46573 | 46574 | 46575 | 46576 | 46577 | 46578 | 46579 | 46580 | 46581 | 46582 | 46583 | 46584 | 46585 | 46586 | 46587 | 46588 | 46589 | 46590 | 46591 | 46592 | 46593 | 46594 | 46595 | 46596 | 46597 | 46598 | 46599 | 46600 | 46601 | 46602 | 46603 | 46604 | 46605 | 46606 | 46607 | 46608 | 46609 | 46610 | 46611 | 46612 | 46613 | 46614 | 46615 | 46616 | 46617 | 46618 | 46619 | 46620 | 46621 | 46622 | 46623 | 46624 | 46625 | 46626 | 46627 | 46628 | 46629 | 46630 | 46631 | 46632 | 46633 | 46634 | 46635 | 46636 | 46637 | 46638 | 46639 | 46640 | 46641 | 46642 | 46643 | 46644 | 46645 | 46646 | 46647 | 46648 | 46649 | 46650 | 46651 | 46652 | 46653 | 46654 | 46655 | 46656 | 46657 | 46658 | 46659 | 46660 | 46661 | 46662 | 46663 | 46664 | 46665 | 46666 | 46667 | 46668 | 46669 | 46670 | 46671 | 46672 | 46673 | 46674 | 46675 | 46676 | 46677 | 46678 | 46679 | 46680 | 46681 | 46682 | 46683 | 46684 | 46685 | 46686 | 46687 | 46688 | 46689 | 46690 | 46691 | 46692 | 46693 | 46694 | 46695 | 46696 | 46697 | 46698 | 46699 | 46700 | 46701 | 46702 | 46703 | 46704 | 46705 | 46706 | 46707 | 46708 | 46709 | 46710 | 46711 | 46712 | 46713 | 46714 | 46715 | 46716 | 46717 | 46718 | 46719 | 46720 | 46721 | 46722 | 46723 | 46724 | 46725 | 46726 | 46727 | 46728 | 46729 | 46730 | 46731 | 46732 | 46733 | 46734 | 46735 | 46736 | 46737 | 46738 | 46739 | 46740 | 46741 | 46742 | 46743 | 46744 | 46745 | 46746 | 46747 | 46748 | 46749 | 46750 | 46751 | 46752 | 46753 | 46754 | 46755 | 46756 | 46757 | 46758 | 46759 | 46760 | 46761 | 46762 | 46763 | 46764 | 46765 | 46766 | 46767 | 46768 | 46769 | 46770 | 46771 | 46772 | 46773 | 46774 | 46775 | 46776 | 46777 | 46778 | 46779 | 46780 | 46781 | 46782 | 46783 | 46784 | 46785 | 46786 | 46787 | 46788 | 46789 | 46790 | 46791 | 46792 | 46793 | 46794 | 46795 | 46796 | 46797 | 46798 | 46799 | 46800 | 46801 | 46802 | 46803 | 46804 | 46805 | 46806 | 46807 | 46808 | 46809 | 46810 | 46811 | 46812 | 46813 | 46814 | 46815 | 46816 | 46817 | 46818 | 46819 | 46820 | 46821 | 46822 | 46823 | 46824 | 46825 | 46826 | 46827 | 46828 | 46829 | 46830 | 46831 | 46832 | 46833 | 46834 | 46835 | 46836 | 46837 | 46838 | 46839 | 46840 | 46841 | 46842 | 46843 | 46844 | 46845 | 46846 | 46847 | 46848 | 46849 | 46850 | 46851 | 46852 | 46853 | 46854 | 46855 | 46856 | 46857 | 46858 | 46859 | 46860 | 46861 | 46862 | 46863 | 46864 | 46865 | 46866 | 46867 | 46868 | 46869 | 46870 | 46871 | 46872 | 46873 | 46874 | 46875 | 46876 | 46877 | 46878 | 46879 | 46880 | 46881 | 46882 | 46883 | 46884 | 46885 | 46886 | 46887 | 46888 | 46889 | 46890 | 46891 | 46892 | 46893 | 46894 | 46895 | 46896 | 46897 | 46898 | 46899 | 46900 | 46901 | 46902 | 46903 | 46904 | 46905 | 46906 | 46907 | 46908 | 46909 | 46910 | 46911 | 46912 | 46913 | 46914 | 46915 | 46916 | 46917 | 46918 | 46919 | 46920 | 46921 | 46922 | 46923 | 46924 | 46925 | 46926 | 46927 | 46928 | 46929 | 46930 | 46931 | 46932 | 46933 | 46934 | 46935 | 46936 | 46937 | 46938 | 46939 | 46940 | 46941 | 46942 | 46943 | 46944 | 46945 | 46946 | 46947 | 46948 | 46949 | 46950 | 46951 | 46952 | 46953 | 46954 | 46955 | 46956 | 46957 | 46958 | 46959 | 46960 | 46961 | 46962 | 46963 | 46964 | 46965 | 46966 | 46967 | 46968 | 46969 | 46970 | 46971 | 46972 | 46973 | 46974 | 46975 | 46976 | 46977 | 46978 | 46979 | 46980 | 46981 | 46982 | 46983 | 46984 | 46985 | 46986 | 46987 | 46988 | 46989 | 46990 | 46991 | 46992 | 46993 | 46994 | 46995 | 46996 | 46997 | 46998 | 46999 | 47000 | 47001 | 47002 | 47003 | 47004 | 47005 | 47006 | 47007 | 47008 | 47009 | 47010 | 47011 | 47012 | 47013 | 47014 | 47015 | 47016 | 47017 | 47018 | 47019 | 47020 | 47021 | 47022 | 47023 | 47024 | 47025 | 47026 | 47027 | 47028 | 47029 | 47030 | 47031 | 47032 | 47033 | 47034 | 47035 | 47036 | 47037 | 47038 | 47039 | 47040 | 47041 | 47042 | 47043 | 47044 | 47045 | 47046 | 47047 | 47048 | 47049 | 47050 | 47051 | 47052 | 47053 | 47054 | 47055 | 47056 | 47057 | 47058 | 47059 | 47060 | 47061 | 47062 | 47063 | 47064 | 47065 | 47066 | 47067 | 47068 | 47069 | 47070 | 47071 | 47072 | 47073 | 47074 | 47075 | 47076 | 47077 | 47078 | 47079 | 47080 | 47081 | 47082 | 47083 | 47084 | 47085 | 47086 | 47087 | 47088 | 47089 | 47090 | 47091 | 47092 | 47093 | 47094 | 47095 | 47096 | 47097 | 47098 | 47099 | 47100 | 47101 | 47102 | 47103 | 47104 | 47105 | 47106 | 47107 | 47108 | 47109 | 47110 | 47111 | 47112 | 47113 | 47114 | 47115 | 47116 | 47117 | 47118 | 47119 | 47120 | 47121 | 47122 | 47123 | 47124 | 47125 | 47126 | 47127 | 47128 | 47129 | 47130 | 47131 | 47132 | 47133 | 47134 | 47135 | 47136 | 47137 | 47138 | 47139 | 47140 | 47141 | 47142 | 47143 | 47144 | 47145 | 47146 | 47147 | 47148 | 47149 | 47150 | 47151 | 47152 | 47153 | 47154 | 47155 | 47156 | 47157 | 47158 | 47159 | 47160 | 47161 | 47162 | 47163 | 47164 | 47165 | 47166 | 47167 | 47168 | 47169 | 47170 | 47171 | 47172 | 47173 | 47174 | 47175 | 47176 | 47177 | 47178 | 47179 | 47180 | 47181 | 47182 | 47183 | 47184 | 47185 | 47186 | 47187 | 47188 | 47189 | 47190 | 47191 | 47192 | 47193 | 47194 | 47195 | 47196 | 47197 | 47198 | 47199 | 47200 | 47201 | 47202 | 47203 | 47204 | 47205 | 47206 | 47207 | 47208 | 47209 | 47210 | 47211 | 47212 | 47213 | 47214 | 47215 | 47216 | 47217 | 47218 | 47219 | 47220 | 47221 | 47222 | 47223 | 47224 | 47225 | 47226 | 47227 | 47228 | 47229 | 47230 | 47231 | 47232 | 47233 | 47234 | 47235 | 47236 | 47237 | 47238 | 47239 | 47240 | 47241 | 47242 | 47243 | 47244 | 47245 | 47246 | 47247 | 47248 | 47249 | 47250 | 47251 | 47252 | 47253 | 47254 | 47255 | 47256 | 47257 | 47258 | 47259 | 47260 | 47261 | 47262 | 47263 | 47264 | 47265 | 47266 | 47267 | 47268 | 47269 | 47270 | 47271 | 47272 | 47273 | 47274 | 47275 | 47276 | 47277 | 47278 | 47279 | 47280 | 47281 | 47282 | 47283 | 47284 | 47285 | 47286 | 47287 | 47288 | 47289 | 47290 | 47291 | 47292 | 47293 | 47294 | 47295 | 47296 | 47297 | 47298 | 47299 | 47300 | 47301 | 47302 | 47303 | 47304 | 47305 | 47306 | 47307 | 47308 | 47309 | 47310 | 47311 | 47312 | 47313 | 47314 | 47315 | 47316 | 47317 | 47318 | 47319 | 47320 | 47321 | 47322 | 47323 | 47324 | 47325 | 47326 | 47327 | 47328 | 47329 | 47330 | 47331 | 47332 | 47333 | 47334 | 47335 | 47336 | 47337 | 47338 | 47339 | 47340 | 47341 | 47342 | 47343 | 47344 | 47345 | 47346 | 47347 | 47348 | 47349 | 47350 | 47351 | 47352 | 47353 | 47354 | 47355 | 47356 | 47357 | 47358 | 47359 | 47360 | 47361 | 47362 | 47363 | 47364 | 47365 | 47366 | 47367 | 47368 | 47369 | 47370 | 47371 | 47372 | 47373 | 47374 | 47375 | 47376 | 47377 | 47378 | 47379 | 47380 | 47381 | 47382 | 47383 | 47384 | 47385 | 47386 | 47387 | 47388 | 47389 | 47390 | 47391 | 47392 | 47393 | 47394 | 47395 | 47396 | 47397 | 47398 | 47399 | 47400 | 47401 | 47402 | 47403 | 47404 | 47405 | 47406 | 47407 | 47408 | 47409 | 47410 | 47411 | 47412 | 47413 | 47414 | 47415 | 47416 | 47417 | 47418 | 47419 | 47420 | 47421 | 47422 | 47423 | 47424 | 47425 | 47426 | 47427 | 47428 | 47429 | 47430 | 47431 | 47432 | 47433 | 47434 | 47435 | 47436 | 47437 | 47438 | 47439 | 47440 | 47441 | 47442 | 47443 | 47444 | 47445 | 47446 | 47447 | 47448 | 47449 | 47450 | 47451 | 47452 | 47453 | 47454 | 47455 | 47456 | 47457 | 47458 | 47459 | 47460 | 47461 | 47462 | 47463 | 47464 | 47465 | 47466 | 47467 | 47468 | 47469 | 47470 | 47471 | 47472 | 47473 | 47474 | 47475 | 47476 | 47477 | 47478 | 47479 | 47480 | 47481 | 47482 | 47483 | 47484 | 47485 | 47486 | 47487 | 47488 | 47489 | 47490 | 47491 | 47492 | 47493 | 47494 | 47495 | 47496 | 47497 | 47498 | 47499 | 47500 | 47501 | 47502 | 47503 | 47504 | 47505 | 47506 | 47507 | 47508 | 47509 | 47510 | 47511 | 47512 | 47513 | 47514 | 47515 | 47516 | 47517 | 47518 | 47519 | 47520 | 47521 | 47522 | 47523 | 47524 | 47525 | 47526 | 47527 | 47528 | 47529 | 47530 | 47531 | 47532 | 47533 | 47534 | 47535 | 47536 | 47537 | 47538 | 47539 | 47540 | 47541 | 47542 | 47543 | 47544 | 47545 | 47546 | 47547 | 47548 | 47549 | 47550 | 47551 | 47552 | 47553 | 47554 | 47555 | 47556 | 47557 | 47558 | 47559 | 47560 | 47561 | 47562 | 47563 | 47564 | 47565 | 47566 | 47567 | 47568 | 47569 | 47570 | 47571 | 47572 | 47573 | 47574 | 47575 | 47576 | 47577 | 47578 | 47579 | 47580 | 47581 | 47582 | 47583 | 47584 | 47585 | 47586 | 47587 | 47588 | 47589 | 47590 | 47591 | 47592 | 47593 | 47594 | 47595 | 47596 | 47597 | 47598 | 47599 | 47600 | 47601 | 47602 | 47603 | 47604 | 47605 | 47606 | 47607 | 47608 | 47609 | 47610 | 47611 | 47612 | 47613 | 47614 | 47615 | 47616 | 47617 | 47618 | 47619 | 47620 | 47621 | 47622 | 47623 | 47624 | 47625 | 47626 | 47627 | 47628 | 47629 | 47630 | 47631 | 47632 | 47633 | 47634 | 47635 | 47636 | 47637 | 47638 | 47639 | 47640 | 47641 | 47642 | 47643 | 47644 | 47645 | 47646 | 47647 | 47648 | 47649 | 47650 | 47651 | 47652 | 47653 | 47654 | 47655 | 47656 | 47657 | 47658 | 47659 | 47660 | 47661 | 47662 | 47663 | 47664 | 47665 | 47666 | 47667 | 47668 | 47669 | 47670 | 47671 | 47672 | 47673 | 47674 | 47675 | 47676 | 47677 | 47678 | 47679 | 47680 | 47681 | 47682 | 47683 | 47684 | 47685 | 47686 | 47687 | 47688 | 47689 | 47690 | 47691 | 47692 | 47693 | 47694 | 47695 | 47696 | 47697 | 47698 | 47699 | 47700 | 47701 | 47702 | 47703 | 47704 | 47705 | 47706 | 47707 | 47708 | 47709 | 47710 | 47711 | 47712 | 47713 | 47714 | 47715 | 47716 | 47717 | 47718 | 47719 | 47720 | 47721 | 47722 | 47723 | 47724 | 47725 | 47726 | 47727 | 47728 | 47729 | 47730 | 47731 | 47732 | 47733 | 47734 | 47735 | 47736 | 47737 | 47738 | 47739 | 47740 | 47741 | 47742 | 47743 | 47744 | 47745 | 47746 | 47747 | 47748 | 47749 | 47750 | 47751 | 47752 | 47753 | 47754 | 47755 | 47756 | 47757 | 47758 | 47759 | 47760 | 47761 | 47762 | 47763 | 47764 | 47765 | 47766 | 47767 | 47768 | 47769 | 47770 | 47771 | 47772 | 47773 | 47774 | 47775 | 47776 | 47777 | 47778 | 47779 | 47780 | 47781 | 47782 | 47783 | 47784 | 47785 | 47786 | 47787 | 47788 | 47789 | 47790 | 47791 | 47792 | 47793 | 47794 | 47795 | 47796 | 47797 | 47798 | 47799 | 47800 | 47801 | 47802 | 47803 | 47804 | 47805 | 47806 | 47807 | 47808 | 47809 | 47810 | 47811 | 47812 | 47813 | 47814 | 47815 | 47816 | 47817 | 47818 | 47819 | 47820 | 47821 | 47822 | 47823 | 47824 | 47825 | 47826 | 47827 | 47828 | 47829 | 47830 | 47831 | 47832 | 47833 | 47834 | 47835 | 47836 | 47837 | 47838 | 47839 | 47840 | 47841 | 47842 | 47843 | 47844 | 47845 | 47846 | 47847 | 47848 | 47849 | 47850 | 47851 | 47852 | 47853 | 47854 | 47855 | 47856 | 47857 | 47858 | 47859 | 47860 | 47861 | 47862 | 47863 | 47864 | 47865 | 47866 | 47867 | 47868 | 47869 | 47870 | 47871 | 47872 | 47873 | 47874 | 47875 | 47876 | 47877 | 47878 | 47879 | 47880 | 47881 | 47882 | 47883 | 47884 | 47885 | 47886 | 47887 | 47888 | 47889 | 47890 | 47891 | 47892 | 47893 | 47894 | 47895 | 47896 | 47897 | 47898 | 47899 | 47900 | 47901 | 47902 | 47903 | 47904 | 47905 | 47906 | 47907 | 47908 | 47909 | 47910 | 47911 | 47912 | 47913 | 47914 | 47915 | 47916 | 47917 | 47918 | 47919 | 47920 | 47921 | 47922 | 47923 | 47924 | 47925 | 47926 | 47927 | 47928 | 47929 | 47930 | 47931 | 47932 | 47933 | 47934 | 47935 | 47936 | 47937 | 47938 | 47939 | 47940 | 47941 | 47942 | 47943 | 47944 | 47945 | 47946 | 47947 | 47948 | 47949 | 47950 | 47951 | 47952 | 47953 | 47954 | 47955 | 47956 | 47957 | 47958 | 47959 | 47960 | 47961 | 47962 | 47963 | 47964 | 47965 | 47966 | 47967 | 47968 | 47969 | 47970 | 47971 | 47972 | 47973 | 47974 | 47975 | 47976 | 47977 | 47978 | 47979 | 47980 | 47981 | 47982 | 47983 | 47984 | 47985 | 47986 | 47987 | 47988 | 47989 | 47990 | 47991 | 47992 | 47993 | 47994 | 47995 | 47996 | 47997 | 47998 | 47999 | 48000 | 48001 | 48002 | 48003 | 48004 | 48005 | 48006 | 48007 | 48008 | 48009 | 48010 | 48011 | 48012 | 48013 | 48014 | 48015 | 48016 | 48017 | 48018 | 48019 | 48020 | 48021 | 48022 | 48023 | 48024 | 48025 | 48026 | 48027 | 48028 | 48029 | 48030 | 48031 | 48032 | 48033 | 48034 | 48035 | 48036 | 48037 | 48038 | 48039 | 48040 | 48041 | 48042 | 48043 | 48044 | 48045 | 48046 | 48047 | 48048 | 48049 | 48050 | 48051 | 48052 | 48053 | 48054 | 48055 | 48056 | 48057 | 48058 | 48059 | 48060 | 48061 | 48062 | 48063 | 48064 | 48065 | 48066 | 48067 | 48068 | 48069 | 48070 | 48071 | 48072 | 48073 | 48074 | 48075 | 48076 | 48077 | 48078 | 48079 | 48080 | 48081 | 48082 | 48083 | 48084 | 48085 | 48086 | 48087 | 48088 | 48089 | 48090 | 48091 | 48092 | 48093 | 48094 | 48095 | 48096 | 48097 | 48098 | 48099 | 48100 | 48101 | 48102 | 48103 | 48104 | 48105 | 48106 | 48107 | 48108 | 48109 | 48110 | 48111 | 48112 | 48113 | 48114 | 48115 | 48116 | 48117 | 48118 | 48119 | 48120 | 48121 | 48122 | 48123 | 48124 | 48125 | 48126 | 48127 | 48128 | 48129 | 48130 | 48131 | 48132 | 48133 | 48134 | 48135 | 48136 | 48137 | 48138 | 48139 | 48140 | 48141 | 48142 | 48143 | 48144 | 48145 | 48146 | 48147 | 48148 | 48149 | 48150 | 48151 | 48152 | 48153 | 48154 | 48155 | 48156 | 48157 | 48158 | 48159 | 48160 | 48161 | 48162 | 48163 | 48164 | 48165 | 48166 | 48167 | 48168 | 48169 | 48170 | 48171 | 48172 | 48173 | 48174 | 48175 | 48176 | 48177 | 48178 | 48179 | 48180 | 48181 | 48182 | 48183 | 48184 | 48185 | 48186 | 48187 | 48188 | 48189 | 48190 | 48191 | 48192 | 48193 | 48194 | 48195 | 48196 | 48197 | 48198 | 48199 | 48200 | 48201 | 48202 | 48203 | 48204 | 48205 | 48206 | 48207 | 48208 | 48209 | 48210 | 48211 | 48212 | 48213 | 48214 | 48215 | 48216 | 48217 | 48218 | 48219 | 48220 | 48221 | 48222 | 48223 | 48224 | 48225 | 48226 | 48227 | 48228 | 48229 | 48230 | 48231 | 48232 | 48233 | 48234 | 48235 | 48236 | 48237 | 48238 | 48239 | 48240 | 48241 | 48242 | 48243 | 48244 | 48245 | 48246 | 48247 | 48248 | 48249 | 48250 | 48251 | 48252 | 48253 | 48254 | 48255 | 48256 | 48257 | 48258 | 48259 | 48260 | 48261 | 48262 | 48263 | 48264 | 48265 | 48266 | 48267 | 48268 | 48269 | 48270 | 48271 | 48272 | 48273 | 48274 | 48275 | 48276 | 48277 | 48278 | 48279 | 48280 | 48281 | 48282 | 48283 | 48284 | 48285 | 48286 | 48287 | 48288 | 48289 | 48290 | 48291 | 48292 | 48293 | 48294 | 48295 | 48296 | 48297 | 48298 | 48299 | 48300 | 48301 | 48302 | 48303 | 48304 | 48305 | 48306 | 48307 | 48308 | 48309 | 48310 | 48311 | 48312 | 48313 | 48314 | 48315 | 48316 | 48317 | 48318 | 48319 | 48320 | 48321 | 48322 | 48323 | 48324 | 48325 | 48326 | 48327 | 48328 | 48329 | 48330 | 48331 | 48332 | 48333 | 48334 | 48335 | 48336 | 48337 | 48338 | 48339 | 48340 | 48341 | 48342 | 48343 | 48344 | 48345 | 48346 | 48347 | 48348 | 48349 | 48350 | 48351 | 48352 | 48353 | 48354 | 48355 | 48356 | 48357 | 48358 | 48359 | 48360 | 48361 | 48362 | 48363 | 48364 | 48365 | 48366 | 48367 | 48368 | 48369 | 48370 | 48371 | 48372 | 48373 | 48374 | 48375 | 48376 | 48377 | 48378 | 48379 | 48380 | 48381 | 48382 | 48383 | 48384 | 48385 | 48386 | 48387 | 48388 | 48389 | 48390 | 48391 | 48392 | 48393 | 48394 | 48395 | 48396 | 48397 | 48398 | 48399 | 48400 | 48401 | 48402 | 48403 | 48404 | 48405 | 48406 | 48407 | 48408 | 48409 | 48410 | 48411 | 48412 | 48413 | 48414 | 48415 | 48416 | 48417 | 48418 | 48419 | 48420 | 48421 | 48422 | 48423 | 48424 | 48425 | 48426 | 48427 | 48428 | 48429 | 48430 | 48431 | 48432 | 48433 | 48434 | 48435 | 48436 | 48437 | 48438 | 48439 | 48440 | 48441 | 48442 | 48443 | 48444 | 48445 | 48446 | 48447 | 48448 | 48449 | 48450 | 48451 | 48452 | 48453 | 48454 | 48455 | 48456 | 48457 | 48458 | 48459 | 48460 | 48461 | 48462 | 48463 | 48464 | 48465 | 48466 | 48467 | 48468 | 48469 | 48470 | 48471 | 48472 | 48473 | 48474 | 48475 | 48476 | 48477 | 48478 | 48479 | 48480 | 48481 | 48482 | 48483 | 48484 | 48485 | 48486 | 48487 | 48488 | 48489 | 48490 | 48491 | 48492 | 48493 | 48494 | 48495 | 48496 | 48497 | 48498 | 48499 | 48500 | 48501 | 48502 | 48503 | 48504 | 48505 | 48506 | 48507 | 48508 | 48509 | 48510 | 48511 | 48512 | 48513 | 48514 | 48515 | 48516 | 48517 | 48518 | 48519 | 48520 | 48521 | 48522 | 48523 | 48524 | 48525 | 48526 | 48527 | 48528 | 48529 | 48530 | 48531 | 48532 | 48533 | 48534 | 48535 | 48536 | 48537 | 48538 | 48539 | 48540 | 48541 | 48542 | 48543 | 48544 | 48545 | 48546 | 48547 | 48548 | 48549 | 48550 | 48551 | 48552 | 48553 | 48554 | 48555 | 48556 | 48557 | 48558 | 48559 | 48560 | 48561 | 48562 | 48563 | 48564 | 48565 | 48566 | 48567 | 48568 | 48569 | 48570 | 48571 | 48572 | 48573 | 48574 | 48575 | 48576 | 48577 | 48578 | 48579 | 48580 | 48581 | 48582 | 48583 | 48584 | 48585 | 48586 | 48587 | 48588 | 48589 | 48590 | 48591 | 48592 | 48593 | 48594 | 48595 | 48596 | 48597 | 48598 | 48599 | 48600 | 48601 | 48602 | 48603 | 48604 | 48605 | 48606 | 48607 | 48608 | 48609 | 48610 | 48611 | 48612 | 48613 | 48614 | 48615 | 48616 | 48617 | 48618 | 48619 | 48620 | 48621 | 48622 | 48623 | 48624 | 48625 | 48626 | 48627 | 48628 | 48629 | 48630 | 48631 | 48632 | 48633 | 48634 | 48635 | 48636 | 48637 | 48638 | 48639 | 48640 | 48641 | 48642 | 48643 | 48644 | 48645 | 48646 | 48647 | 48648 | 48649 | 48650 | 48651 | 48652 | 48653 | 48654 | 48655 | 48656 | 48657 | 48658 | 48659 | 48660 | 48661 | 48662 | 48663 | 48664 | 48665 | 48666 | 48667 | 48668 | 48669 | 48670 | 48671 | 48672 | 48673 | 48674 | 48675 | 48676 | 48677 | 48678 | 48679 | 48680 | 48681 | 48682 | 48683 | 48684 | 48685 | 48686 | 48687 | 48688 | 48689 | 48690 | 48691 | 48692 | 48693 | 48694 | 48695 | 48696 | 48697 | 48698 | 48699 | 48700 | 48701 | 48702 | 48703 | 48704 | 48705 | 48706 | 48707 | 48708 | 48709 | 48710 | 48711 | 48712 | 48713 | 48714 | 48715 | 48716 | 48717 | 48718 | 48719 | 48720 | 48721 | 48722 | 48723 | 48724 | 48725 | 48726 | 48727 | 48728 | 48729 | 48730 | 48731 | 48732 | 48733 | 48734 | 48735 | 48736 | 48737 | 48738 | 48739 | 48740 | 48741 | 48742 | 48743 | 48744 | 48745 | 48746 | 48747 | 48748 | 48749 | 48750 | 48751 | 48752 | 48753 | 48754 | 48755 | 48756 | 48757 | 48758 | 48759 | 48760 | 48761 | 48762 | 48763 | 48764 | 48765 | 48766 | 48767 | 48768 | 48769 | 48770 | 48771 | 48772 | 48773 | 48774 | 48775 | 48776 | 48777 | 48778 | 48779 | 48780 | 48781 | 48782 | 48783 | 48784 | 48785 | 48786 | 48787 | 48788 | 48789 | 48790 | 48791 | 48792 | 48793 | 48794 | 48795 | 48796 | 48797 | 48798 | 48799 | 48800 | 48801 | 48802 | 48803 | 48804 | 48805 | 48806 | 48807 | 48808 | 48809 | 48810 | 48811 | 48812 | 48813 | 48814 | 48815 | 48816 | 48817 | 48818 | 48819 | 48820 | 48821 | 48822 | 48823 | 48824 | 48825 | 48826 | 48827 | 48828 | 48829 | 48830 | 48831 | 48832 | 48833 | 48834 | 48835 | 48836 | 48837 | 48838 | 48839 | 48840 | 48841 | 48842 | 48843 | 48844 | 48845 | 48846 | 48847 | 48848 | 48849 | 48850 | 48851 | 48852 | 48853 | 48854 | 48855 | 48856 | 48857 | 48858 | 48859 | 48860 | 48861 | 48862 | 48863 | 48864 | 48865 | 48866 | 48867 | 48868 | 48869 | 48870 | 48871 | 48872 | 48873 | 48874 | 48875 | 48876 | 48877 | 48878 | 48879 | 48880 | 48881 | 48882 | 48883 | 48884 | 48885 | 48886 | 48887 | 48888 | 48889 | 48890 | 48891 | 48892 | 48893 | 48894 | 48895 | 48896 | 48897 | 48898 | 48899 | 48900 | 48901 | 48902 | 48903 | 48904 | 48905 | 48906 | 48907 | 48908 | 48909 | 48910 | 48911 | 48912 | 48913 | 48914 | 48915 | 48916 | 48917 | 48918 | 48919 | 48920 | 48921 | 48922 | 48923 | 48924 | 48925 | 48926 | 48927 | 48928 | 48929 | 48930 | 48931 | 48932 | 48933 | 48934 | 48935 | 48936 | 48937 | 48938 | 48939 | 48940 | 48941 | 48942 | 48943 | 48944
RSD | 16756338104.616 | 16688032498.857 | 16538038473.714 | 16596160316.537 | 16695926132.908 | 16587970301.612 | 16529119798.739 | 16540369578.968 | 16460118461.378 | 16470477111.162 | 16418255899.773 | 16429128988.47 | 16343445667.001 | 16418445479.679 | 16355916415.8165 | 16337145628.8281 | 16319299956.7651 | 16302379399.6275 | 16286383957.4153 | 16271313630.1285 | 16257168417.7671 | 16243948320.3311 | 16231653337.8205 | 16220283470.2353 | 16209838717.5755 | 16200319079.8411 | 16191724557.0321 | 16184055149.1485 | 16177310856.1903 | 16171491678.1575
-3.4%
-11.5%
-8.9%
Adjusting the solar obs. Cycle when designing follow-up GEMS missions is expected to extend the sensor’s lifespan
*extended operation considering follow-up GEMS development schedule
Chart: GEMS CCD Total Digital Counts (WSD, RSD): ‘20.4-’26.2
| 43944 | 43945 | 43946 | 43948 | 43950 | 43951 | 43952 | 43953 | 43954 | 43955 | 43956 | 43957 | 43958 | 43959 | 43960 | 43961 | 43962 | 43963 | 43964 | 43965 | 43966 | 43967 | 43968 | 43969 | 43970 | 43971 | 43972 | 43974 | 43975 | 43976 | 43977 | 43978 | 43979 | 43980 | 43981 | 43982 | 43983 | 43984 | 43985 | 43986 | 43987 | 43989 | 43990 | 43991 | 43992 | 43993 | 43994 | 43995 | 43996 | 43997 | 43998 | 43999 | 44000 | 44001 | 44002 | 44003 | 44004 | 44005 | 44006 | 44007 | 44008 | 44009 | 44010 | 44011 | 44012 | 44013 | 44014 | 44015 | 44016 | 44017 | 44018 | 44019 | 44020 | 44021 | 44022 | 44023 | 44024 | 44025 | 44026 | 44027 | 44028 | 44029 | 44030 | 44031 | 44032 | 44033 | 44034 | 44035 | 44036 | 44037 | 44038 | 44039 | 44040 | 44041 | 44042 | 44043 | 44044 | 44045 | 44046 | 44047 | 44048 | 44049 | 44050 | 44051 | 44052 | 44053 | 44054 | 44055 | 44056 | 44057 | 44058 | 44059 | 44060 | 44062 | 44063 | 44064 | 44065 | 44066 | 44067 | 44068 | 44069 | 44070 | 44071 | 44072 | 44073 | 44074 | 44075 | 44076 | 44077 | 44078 | 44079 | 44080 | 44081 | 44082 | 44083 | 44084 | 44085 | 44086 | 44087 | 44088 | 44089 | 44090 | 44091 | 44092 | 44093 | 44094 | 44095 | 44097 | 44098 | 44099 | 44100 | 44101 | 44102 | 44103 | 44104 | 44105 | 44106 | 44107 | 44108 | 44109 | 44110 | 44111 | 44112 | 44113 | 44114 | 44115 | 44116 | 44117 | 44118 | 44119 | 44120 | 44121 | 44122 | 44123 | 44124 | 44125 | 44126 | 44127 | 44128 | 44129 | 44130 | 44131 | 44132 | 44133 | 44134 | 44135 | 44136 | 44137 | 44138 | 44139 | 44140 | 44141 | 44142 | 44143 | 44144 | 44145 | 44146 | 44147 | 44148 | 44149 | 44150 | 44151 | 44152 | 44153 | 44154 | 44155 | 44156 | 44157 | 44158 | 44159 | 44160 | 44161 | 44162 | 44163 | 44164 | 44165 | 44166 | 44167 | 44168 | 44169 | 44170 | 44171 | 44172 | 44173 | 44174 | 44175 | 44176 | 44177 | 44178 | 44179 | 44180 | 44181 | 44182 | 44183 | 44184 | 44186 | 44187 | 44188 | 44189 | 44190 | 44191 | 44192 | 44193 | 44194 | 44195 | 44196 | 44197 | 44198 | 44199 | 44200 | 44201 | 44202 | 44203 | 44204 | 44205 | 44206 | 44207 | 44208 | 44209 | 44210 | 44211 | 44212 | 44213 | 44214 | 44215 | 44216 | 44217 | 44218 | 44219 | 44220 | 44221 | 44222 | 44223 | 44224 | 44225 | 44226 | 44227 | 44228 | 44229 | 44230 | 44231 | 44232 | 44233 | 44234 | 44235 | 44236 | 44237 | 44238 | 44239 | 44240 | 44241 | 44242 | 44243 | 44244 | 44245 | 44246 | 44247 | 44248 | 44249 | 44250 | 44251 | 44252 | 44253 | 44254 | 44255 | 44256 | 44257 | 44258 | 44259 | 44260 | 44261 | 44262 | 44263 | 44264 | 44265 | 44266 | 44267 | 44268 | 44269 | 44270 | 44271 | 44272 | 44273 | 44274 | 44276 | 44277 | 44278 | 44279 | 44280 | 44281 | 44282 | 44283 | 44284 | 44285 | 44286 | 44287 | 44288 | 44289 | 44290 | 44291 | 44292 | 44293 | 44294 | 44295 | 44296 | 44297 | 44298 | 44299 | 44300 | 44301 | 44302 | 44303 | 44304 | 44305 | 44306 | 44307 | 44308 | 44309 | 44310 | 44311 | 44312 | 44313 | 44314 | 44315 | 44316 | 44317 | 44318 | 44319 | 44320 | 44321 | 44322 | 44323 | 44324 | 44325 | 44326 | 44327 | 44328 | 44329 | 44330 | 44331 | 44332 | 44333 | 44334 | 44335 | 44336 | 44337 | 44338 | 44339 | 44340 | 44341 | 44342 | 44343 | 44344 | 44345 | 44346 | 44347 | 44348 | 44349 | 44350 | 44351 | 44352 | 44353 | 44354 | 44355 | 44356 | 44357 | 44358 | 44359 | 44360 | 44361 | 44362 | 44363 | 44364 | 44365 | 44366 | 44367 | 44369 | 44370 | 44371 | 44372 | 44373 | 44374 | 44375 | 44376 | 44377 | 44378 | 44379 | 44380 | 44381 | 44382 | 44383 | 44384 | 44385 | 44386 | 44387 | 44388 | 44389 | 44390 | 44391 | 44392 | 44393 | 44394 | 44395 | 44396 | 44397 | 44398 | 44399 | 44400 | 44401 | 44402 | 44403 | 44404 | 44405 | 44406 | 44407 | 44408 | 44409 | 44410 | 44411 | 44412 | 44413 | 44414 | 44415 | 44416 | 44417 | 44418 | 44419 | 44420 | 44421 | 44422 | 44423 | 44424 | 44425 | 44426 | 44427 | 44428 | 44429 | 44430 | 44431 | 44432 | 44433 | 44434 | 44435 | 44436 | 44437 | 44438 | 44439 | 44440 | 44441 | 44442 | 44443 | 44444 | 44445 | 44446 | 44447 | 44448 | 44449 | 44450 | 44451 | 44452 | 44453 | 44454 | 44455 | 44456 | 44457 | 44458 | 44459 | 44460 | 44461 | 44463 | 44464 | 44465 | 44466 | 44467 | 44468 | 44469 | 44470 | 44471 | 44472 | 44473 | 44474 | 44475 | 44476 | 44477 | 44478 | 44479 | 44480 | 44481 | 44482 | 44483 | 44484 | 44485 | 44486 | 44487 | 44488 | 44489 | 44490 | 44491 | 44492 | 44493 | 44494 | 44495 | 44496 | 44497 | 44498 | 44499 | 44500 | 44501 | 44502 | 44503 | 44504 | 44505 | 44506 | 44507 | 44508 | 44509 | 44510 | 44511 | 44512 | 44513 | 44514 | 44515 | 44516 | 44517 | 44518 | 44519 | 44520 | 44521 | 44522 | 44523 | 44524 | 44525 | 44526 | 44527 | 44528 | 44529 | 44530 | 44531 | 44532 | 44533 | 44534 | 44535 | 44536 | 44537 | 44538 | 44539 | 44540 | 44541 | 44542 | 44543 | 44544 | 44545 | 44546 | 44547 | 44548 | 44549 | 44550 | 44551 | 44552 | 44553 | 44554 | 44555 | 44556 | 44557 | 44558 | 44559 | 44560 | 44561 | 44562 | 44563 | 44564 | 44565 | 44566 | 44567 | 44568 | 44569 | 44570 | 44571 | 44572 | 44574 | 44575 | 44576 | 44577 | 44578 | 44579 | 44580 | 44581 | 44582 | 44583 | 44584 | 44585 | 44586 | 44587 | 44588 | 44589 | 44590 | 44591 | 44592 | 44593 | 44594 | 44595 | 44596 | 44597 | 44598 | 44599 | 44600 | 44601 | 44602 | 44603 | 44604 | 44605 | 44606 | 44607 | 44608 | 44609 | 44610 | 44611 | 44612 | 44613 | 44614 | 44615 | 44616 | 44617 | 44618 | 44619 | 44620 | 44621 | 44622 | 44623 | 44624 | 44625 | 44626 | 44627 | 44628 | 44629 | 44630 | 44631 | 44632 | 44633 | 44634 | 44635 | 44636 | 44637 | 44638 | 44639 | 44640 | 44642 | 44643 | 44644 | 44645 | 44646 | 44647 | 44648 | 44649 | 44650 | 44651 | 44653 | 44654 | 44655 | 44656 | 44657 | 44658 | 44659 | 44660 | 44661 | 44662 | 44663 | 44664 | 44665 | 44666 | 44667 | 44668 | 44669 | 44670 | 44671 | 44672 | 44673 | 44674 | 44675 | 44676 | 44677 | 44678 | 44679 | 44680 | 44681 | 44682 | 44683 | 44684 | 44685 | 44686 | 44687 | 44688 | 44689 | 44690 | 44691 | 44692 | 44693 | 44694 | 44695 | 44696 | 44697 | 44698 | 44699 | 44700 | 44701 | 44702 | 44703 | 44704 | 44705 | 44706 | 44707 | 44708 | 44709 | 44710 | 44711 | 44712 | 44713 | 44714 | 44715 | 44716 | 44717 | 44718 | 44719 | 44720 | 44721 | 44722 | 44723 | 44724 | 44725 | 44726 | 44727 | 44728 | 44729 | 44730 | 44731 | 44732 | 44733 | 44734 | 44735 | 44736 | 44737 | 44738 | 44739 | 44740 | 44741 | 44742 | 44743 | 44744 | 44745 | 44746 | 44747 | 44748 | 44749 | 44750 | 44751 | 44752 | 44753 | 44754 | 44755 | 44756 | 44757 | 44758 | 44759 | 44760 | 44761 | 44762 | 44763 | 44764 | 44765 | 44766 | 44767 | 44768 | 44769 | 44770 | 44771 | 44772 | 44773 | 44774 | 44775 | 44776 | 44777 | 44779 | 44780 | 44781 | 44782 | 44783 | 44784 | 44785 | 44786 | 44787 | 44788 | 44789 | 44790 | 44791 | 44792 | 44793 | 44794 | 44795 | 44796 | 44797 | 44798 | 44799 | 44800 | 44801 | 44802 | 44803 | 44804 | 44805 | 44806 | 44808 | 44809 | 44810 | 44811 | 44812 | 44813 | 44814 | 44815 | 44816 | 44817 | 44818 | 44819 | 44820 | 44821 | 44822 | 44823 | 44824 | 44825 | 44826 | 44828 | 44829 | 44830 | 44831 | 44832 | 44833 | 44834 | 44835 | 44836 | 44837 | 44838 | 44839 | 44840 | 44841 | 44842 | 44843 | 44844 | 44845 | 44846 | 44847 | 44848 | 44849 | 44850 | 44851 | 44852 | 44853 | 44854 | 44855 | 44856 | 44857 | 44858 | 44859 | 44860 | 44861 | 44862 | 44863 | 44864 | 44865 | 44866 | 44867 | 44868 | 44869 | 44870 | 44871 | 44872 | 44873 | 44874 | 44875 | 44876 | 44877 | 44878 | 44879 | 44880 | 44881 | 44882 | 44883 | 44884 | 44885 | 44886 | 44887 | 44888 | 44889 | 44890 | 44891 | 44892 | 44893 | 44894 | 44895 | 44896 | 44897 | 44898 | 44899 | 44900 | 44901 | 44902 | 44903 | 44904 | 44905 | 44906 | 44907 | 44908 | 44909 | 44910 | 44911 | 44912 | 44913 | 44914 | 44915 | 44916 | 44917 | 44918 | 44919 | 44920 | 44921 | 44922 | 44923 | 44924 | 44925 | 44926 | 44927 | 44928 | 44929 | 44930 | 44931 | 44932 | 44933 | 44934 | 44935 | 44936 | 44937 | 44938 | 44939 | 44940 | 44941 | 44942 | 44943 | 44944 | 44945 | 44946 | 44947 | 44948 | 44949 | 44950 | 44951 | 44952 | 44953 | 44954 | 44955 | 44956 | 44957 | 44958 | 44959 | 44960 | 44961 | 44962 | 44963 | 44964 | 44965 | 44966 | 44967 | 44968 | 44969 | 44970 | 44971 | 44972 | 44973 | 44974 | 44975 | 44976 | 44977 | 44978 | 44979 | 44980 | 44981 | 44982 | 44983 | 44984 | 44985 | 44986 | 44987 | 44988 | 44989 | 44990 | 44991 | 44992 | 44993 | 44994 | 44995 | 44996 | 44997 | 44998 | 44999 | 45000 | 45001 | 45002 | 45003 | 45004 | 45005 | 45007 | 45008 | 45009 | 45010 | 45011 | 45012 | 45013 | 45014 | 45015 | 45016 | 45017 | 45018 | 45019 | 45020 | 45021 | 45022 | 45023 | 45024 | 45025 | 45026 | 45027 | 45028 | 45029 | 45030 | 45031 | 45032 | 45033 | 45034 | 45035 | 45036 | 45037 | 45038 | 45039 | 45040 | 45041 | 45042 | 45043 | 45044 | 45045 | 45046 | 45047 | 45048 | 45049 | 45050 | 45051 | 45052 | 45053 | 45054 | 45055 | 45056 | 45057 | 45058 | 45059 | 45060 | 45061 | 45062 | 45063 | 45064 | 45065 | 45066 | 45067 | 45068 | 45069 | 45070 | 45071 | 45072 | 45073 | 45074 | 45075 | 45076 | 45077 | 45078 | 45079 | 45080 | 45081 | 45082 | 45083 | 45084 | 45085 | 45087 | 45088 | 45089 | 45090 | 45091 | 45092 | 45093 | 45094 | 45095 | 45096 | 45097 | 45098 | 45099 | 45100 | 45101 | 45102 | 45103 | 45104 | 45105 | 45106 | 45107 | 45108 | 45109 | 45110 | 45111 | 45112 | 45113 | 45114 | 45115 | 45116 | 45117 | 45118 | 45119 | 45120 | 45121 | 45122 | 45123 | 45125 | 45126 | 45127 | 45128 | 45129 | 45130 | 45131 | 45132 | 45133 | 45134 | 45135 | 45136 | 45137 | 45138 | 45139 | 45140 | 45141 | 45142 | 45143 | 45144 | 45145 | 45146 | 45147 | 45148 | 45149 | 45150 | 45151 | 45152 | 45153 | 45154 | 45155 | 45156 | 45157 | 45158 | 45159 | 45160 | 45161 | 45162 | 45163 | 45164 | 45165 | 45166 | 45167 | 45168 | 45169 | 45170 | 45171 | 45172 | 45173 | 45174 | 45175 | 45176 | 45177 | 45178 | 45179 | 45180 | 45181 | 45182 | 45183 | 45184 | 45185 | 45186 | 45187 | 45188 | 45189 | 45190 | 45191 | 45194 | 45195 | 45196 | 45197 | 45198 | 45199 | 45200 | 45201 | 45202 | 45203 | 45204 | 45205 | 45206 | 45207 | 45208 | 45209 | 45210 | 45211 | 45212 | 45213 | 45214 | 45215 | 45216 | 45217 | 45218 | 45219 | 45220 | 45221 | 45222 | 45223 | 45224 | 45225 | 45226 | 45227 | 45228 | 45229 | 45230 | 45231 | 45232 | 45233 | 45234 | 45235 | 45236 | 45237 | 45238 | 45239 | 45240 | 45241 | 45242 | 45243 | 45244 | 45245 | 45246 | 45247 | 45248 | 45249 | 45250 | 45251 | 45252 | 45253 | 45254 | 45255 | 45256 | 45257 | 45258 | 45259 | 45260 | 45261 | 45262 | 45263 | 45264 | 45265 | 45266 | 45267 | 45268 | 45269 | 45271 | 45272 | 45273 | 45274 | 45275 | 45276 | 45277 | 45278 | 45279 | 45280 | 45281 | 45282 | 45283 | 45284 | 45285 | 45286 | 45287 | 45288 | 45289 | 45290 | 45291 | 45292 | 45293 | 45294 | 45295 | 45296 | 45297 | 45298 | 45299 | 45300 | 45301 | 45302 | 45303 | 45304 | 45305 | 45306 | 45307 | 45308 | 45309 | 45310 | 45311 | 45312 | 45313 | 45314 | 45315 | 45316 | 45317 | 45318 | 45319 | 45320 | 45321 | 45322 | 45323 | 45324 | 45325 | 45326 | 45327 | 45328 | 45329 | 45330 | 45331 | 45332 | 45333 | 45334 | 45335 | 45336 | 45337 | 45338 | 45339 | 45340 | 45341 | 45342 | 45343 | 45344 | 45345 | 45346 | 45347 | 45348 | 45349 | 45350 | 45351 | 45352 | 45353 | 45354 | 45355 | 45356 | 45357 | 45358 | 45359 | 45360 | 45361 | 45362 | 45363 | 45364 | 45365 | 45366 | 45367 | 45368 | 45369 | 45370 | 45372 | 45373 | 45374 | 45375 | 45376 | 45377 | 45378 | 45379 | 45380 | 45381 | 45382 | 45383 | 45384 | 45385 | 45386 | 45387 | 45388 | 45389 | 45390 | 45391 | 45392 | 45393 | 45394 | 45395 | 45396 | 45397 | 45398 | 45399 | 45400 | 45401 | 45402 | 45403 | 45404 | 45405 | 45406 | 45407 | 45408 | 45409 | 45410 | 45411 | 45412 | 45413 | 45414 | 45415 | 45416 | 45417 | 45418 | 45419 | 45420 | 45421 | 45422 | 45423 | 45424 | 45425 | 45426 | 45427 | 45428 | 45429 | 45430 | 45431 | 45432 | 45433 | 45434 | 45435 | 45436 | 45437 | 45438 | 45439 | 45440 | 45441 | 45442 | 45443 | 45444 | 45445 | 45446 | 45447 | 45448 | 45449 | 45450 | 45451 | 45452 | 45453 | 45454 | 45455 | 45456 | 45457 | 45458 | 45459 | 45460 | 45461 | 45462 | 45463 | 45464 | 45465 | 45466 | 45467 | 45468 | 45469 | 45470 | 45471 | 45472 | 45473 | 45474 | 45475 | 45476 | 45477 | 45478 | 45479 | 45480 | 45481 | 45482 | 45483 | 45484 | 45485 | 45486 | 45487 | 45488 | 45489 | 45490 | 45491 | 45492 | 45493 | 45494 | 45495 | 45496 | 45497 | 45498 | 45499 | 45500 | 45501 | 45502 | 45503 | 45504 | 45505 | 45506 | 45507 | 45508 | 45509 | 45510 | 45511 | 45512 | 45513 | 45514 | 45515 | 45516 | 45517 | 45518 | 45519 | 45520 | 45521 | 45522 | 45523 | 45524 | 45525 | 45526 | 45527 | 45528 | 45529 | 45530 | 45531 | 45532 | 45533 | 45534 | 45535 | 45536 | 45537 | 45538 | 45539 | 45540 | 45541 | 45542 | 45543 | 45544 | 45545 | 45546 | 45547 | 45548 | 45549 | 45550 | 45551 | 45552 | 45553 | 45554 | 45555 | 45556 | 45558 | 45559 | 45560 | 45561 | 45562 | 45563 | 45564 | 45565 | 45566 | 45567 | 45568 | 45569 | 45570 | 45571 | 45572 | 45573 | 45574 | 45575 | 45576 | 45577 | 45578 | 45579 | 45580 | 45581 | 45582 | 45583 | 45584 | 45585 | 45586 | 45587 | 45588 | 45589 | 45590 | 45591 | 45592 | 45593 | 45594 | 45595 | 45596 | 45597 | 45598 | 45599 | 45600 | 45601 | 45602 | 45603 | 45604 | 45605 | 45606 | 45607 | 45608 | 45609 | 45610 | 45611 | 45612 | 45613 | 45614 | 45615 | 45616 | 45617 | 45618 | 45619 | 45620 | 45621 | 45622 | 45623 | 45624 | 45625 | 45626 | 45627 | 45628 | 45629 | 45630 | 45631 | 45632 | 45633 | 45634 | 45635 | 45636 | 45637 | 45638 | 45639 | 45640 | 45641 | 45642 | 45643 | 45644 | 45645 | 45646 | 45647 | 45648 | 45649 | 45650 | 45651 | 45652 | 45653 | 45654 | 45655 | 45656 | 45657 | 45658 | 45659 | 45660 | 45661 | 45662 | 45663 | 45664 | 45665 | 45666 | 45667 | 45668 | 45669 | 45670 | 45671 | 45672 | 45673 | 45674 | 45675 | 45676 | 45677 | 45678 | 45679 | 45680 | 45681 | 45682 | 45683 | 45684 | 45685 | 45686 | 45687 | 45688 | 45689 | 45690 | 45691 | 45692 | 45693 | 45694 | 45695 | 45696 | 45697 | 45698 | 45699 | 45700 | 45701 | 45702 | 45703 | 45704 | 45705 | 45706 | 45707 | 45708 | 45709 | 45710 | 45711 | 45712 | 45713 | 45714 | 45715 | 45716 | 45717 | 45718 | 45719 | 45720 | 45721 | 45722 | 45723 | 45724 | 45725 | 45726 | 45727 | 45728 | 45729 | 45730 | 45731 | 45732 | 45733 | 45734 | 45735 | 45737 | 45738 | 45739 | 45740 | 45741 | 45742 | 45743 | 45744 | 45745 | 45746 | 45747 | 45748 | 45749 | 45750 | 45751 | 45752 | 45753 | 45754 | 45755 | 45756 | 45757 | 45758 | 45759 | 45760 | 45761 | 45762 | 45763 | 45764 | 45765 | 45766 | 45767 | 45768 | 45769 | 45770 | 45771 | 45772 | 45773 | 45774 | 45775 | 45776 | 45777 | 45778 | 45779 | 45780 | 45781 | 45782 | 45783 | 45784 | 45785 | 45786 | 45787 | 45788 | 45789 | 45790 | 45791 | 45792 | 45793 | 45794 | 45795 | 45796 | 45797 | 45798 | 45799 | 45800 | 45801 | 45802 | 45803 | 45804 | 45805 | 45806 | 45807 | 45808 | 45809 | 45810 | 45811 | 45812 | 45813 | 45814 | 45815 | 45816 | 45817 | 45818 | 45819 | 45820 | 45821 | 45822 | 45823 | 45824 | 45825 | 45826 | 45827 | 45828 | 45829 | 45830 | 45831 | 45832 | 45833 | 45834 | 45835 | 45836 | 45837 | 45838 | 45839 | 45840 | 45841 | 45842 | 45843 | 45844 | 45845 | 45846 | 45847 | 45848 | 45849 | 45850 | 45851 | 45852 | 45853 | 45854 | 45855 | 45856 | 45857 | 45858 | 45859 | 45860 | 45861 | 45862 | 45863 | 45864 | 45865 | 45866 | 45867 | 45868 | 45869 | 45870 | 45871 | 45872 | 45873 | 45874 | 45875 | 45876 | 45877 | 45878 | 45879 | 45880 | 45881 | 45882 | 45883 | 45884 | 45885 | 45886 | 45887 | 45888 | 45889 | 45890 | 45891 | 45892 | 45893 | 45894 | 45895 | 45896 | 45897 | 45898 | 45899 | 45900 | 45901 | 45902 | 45903 | 45904 | 45905 | 45906 | 45907 | 45908 | 45909 | 45910 | 45911 | 45912 | 45913 | 45914 | 45915 | 45916 | 45917 | 45918 | 45919 | 45920 | 45921 | 45922 | 45924 | 45925 | 45926 | 45927 | 45928 | 45929 | 45930 | 45931 | 45932 | 45933 | 45934 | 45935 | 45936 | 45937 | 45938 | 45939 | 45940 | 45941 | 45942 | 45943 | 45944 | 45945 | 45946 | 45947 | 45948 | 45949 | 45950 | 45951 | 45952 | 45953 | 45954 | 45955 | 45956 | 45957 | 45958 | 45959 | 45960 | 45961 | 45962 | 45963 | 45964 | 45965 | 45966 | 45967 | 45968 | 45969 | 45970 | 45971 | 45972 | 45973 | 45974 | 45975 | 45976 | 45977 | 45978 | 45979 | 45980 | 45981 | 45982 | 45983 | 45984 | 45985 | 45986 | 45987 | 45988 | 45989 | 45990 | 45991 | 45992 | 45993 | 45994 | 45995 | 45996 | 45997 | 45998 | 45999 | 46000 | 46001 | 46002 | 46003 | 46004 | 46005 | 46006 | 46007 | 46008 | 46009 | 46010 | 46011 | 46012 | 46013 | 46014 | 46015 | 46016 | 46017 | 46018 | 46019 | 46020 | 46021 | 46022 | 46023 | 46024 | 46025 | 46026 | 46027 | 46028 | 46029 | 46030 | 46031 | 46032 | 46033 | 46034 | 46035 | 46036 | 46037 | 46038 | 46039 | 46040 | 46041 | 46042 | 46043 | 46044 | 46045 | 46046 | 46047 | 46048 | 46049 | 46050 | 46051 | 46052 | 46053 | 46054 | 46055 | 46056 | 46057 | 46058 | 46059 | 46060 | 46061 | 46062 | 46063 | 46064 | 46065 | 46066 | 46067 | 46068 | 46069 | 46070 | 46071 | 46072 | 46073 | 46074 | 46075 | 46076 | 46077 | 46078 | 46079 | 46080 | 46081 | 46082 | 46083 | 46084 | 46085 | 46086 | 46087 | 46088 | 46089 | 46090 | 46091 | 46092 | 46093 | 46094 | 46095 | 46096 | 46097 | 46098 | 46099 | 46100 | 46101 | 46102 | 46103 | 46104 | 46105 | 46106 | 46107 | 46108 | 46109 | 46110 | 46111 | 46112 | 46113 | 46114 | 46115 | 46116 | 46117 | 46118 | 46119 | 46120 | 46121 | 46122 | 46123 | 46124 | 46125 | 46126 | 46127 | 46128 | 46129 | 46130 | 46131 | 46132 | 46133 | 46134 | 46135 | 46136 | 46137 | 46138 | 46139 | 46140 | 46141 | 46142 | 46143 | 46144 | 46145 | 46146 | 46147 | 46148 | 46149 | 46150 | 46151 | 46152 | 46153 | 46154 | 46155 | 46156 | 46157 | 46158 | 46159 | 46160 | 46161 | 46162 | 46163 | 46164 | 46165 | 46166 | 46167 | 46168 | 46169 | 46170 | 46171 | 46172 | 46173 | 46174 | 46175 | 46176 | 46177 | 46178 | 46179 | 46180 | 46181 | 46182 | 46183 | 46184 | 46185 | 46186 | 46187 | 46188 | 46189 | 46190 | 46191 | 46192 | 46193 | 46194 | 46195 | 46196 | 46197 | 46198 | 46199 | 46200 | 46201 | 46202 | 46203 | 46204 | 46205 | 46206 | 46207 | 46208 | 46209 | 46210 | 46211 | 46212 | 46213 | 46214 | 46215 | 46216 | 46217 | 46218 | 46219 | 46220 | 46221 | 46222 | 46223 | 46224 | 46225 | 46226 | 46227 | 46228 | 46229 | 46230 | 46231 | 46232 | 46233 | 46234 | 46235 | 46236 | 46237 | 46238 | 46239 | 46240 | 46241 | 46242 | 46243 | 46244 | 46245 | 46246 | 46247 | 46248 | 46249 | 46250 | 46251 | 46252 | 46253 | 46254 | 46255 | 46256 | 46257 | 46258 | 46259 | 46260 | 46261 | 46262 | 46263 | 46264 | 46265 | 46266 | 46267 | 46268 | 46269 | 46270 | 46271 | 46272 | 46273 | 46274 | 46275 | 46276 | 46277 | 46278 | 46279 | 46280 | 46281 | 46282 | 46283 | 46284 | 46285 | 46286 | 46287 | 46288 | 46289 | 46290 | 46291 | 46292 | 46293 | 46294 | 46295 | 46296 | 46297 | 46298 | 46299 | 46300 | 46301 | 46302 | 46303 | 46304 | 46305 | 46306 | 46307 | 46308 | 46309 | 46310 | 46311 | 46312 | 46313 | 46314 | 46315 | 46316 | 46317 | 46318 | 46319 | 46320 | 46321 | 46322 | 46323 | 46324 | 46325 | 46326 | 46327 | 46328 | 46329 | 46330 | 46331 | 46332 | 46333 | 46334 | 46335 | 46336 | 46337 | 46338 | 46339 | 46340 | 46341 | 46342 | 46343 | 46344 | 46345 | 46346 | 46347 | 46348 | 46349 | 46350 | 46351 | 46352 | 46353 | 46354 | 46355 | 46356 | 46357 | 46358 | 46359 | 46360 | 46361 | 46362 | 46363 | 46364 | 46365 | 46366 | 46367 | 46368 | 46369 | 46370 | 46371 | 46372 | 46373 | 46374 | 46375 | 46376 | 46377 | 46378 | 46379 | 46380 | 46381 | 46382 | 46383 | 46384 | 46385 | 46386 | 46387 | 46388 | 46389 | 46390 | 46391 | 46392 | 46393 | 46394 | 46395 | 46396 | 46397 | 46398 | 46399 | 46400 | 46401 | 46402 | 46403 | 46404 | 46405 | 46406 | 46407 | 46408 | 46409 | 46410 | 46411 | 46412 | 46413 | 46414 | 46415 | 46416 | 46417 | 46418 | 46419 | 46420 | 46421 | 46422 | 46423 | 46424 | 46425 | 46426 | 46427 | 46428 | 46429 | 46430 | 46431 | 46432 | 46433 | 46434 | 46435 | 46436 | 46437 | 46438 | 46439 | 46440 | 46441 | 46442 | 46443 | 46444 | 46445 | 46446 | 46447 | 46448 | 46449 | 46450 | 46451 | 46452 | 46453 | 46454 | 46455 | 46456 | 46457 | 46458 | 46459 | 46460 | 46461 | 46462 | 46463 | 46464 | 46465 | 46466 | 46467 | 46468 | 46469 | 46470 | 46471 | 46472 | 46473 | 46474 | 46475 | 46476 | 46477 | 46478 | 46479 | 46480 | 46481 | 46482 | 46483 | 46484 | 46485 | 46486 | 46487 | 46488 | 46489 | 46490 | 46491 | 46492 | 46493 | 46494 | 46495 | 46496 | 46497 | 46498 | 46499 | 46500 | 46501 | 46502 | 46503 | 46504 | 46505 | 46506 | 46507 | 46508 | 46509 | 46510 | 46511 | 46512 | 46513 | 46514 | 46515 | 46516 | 46517 | 46518 | 46519 | 46520 | 46521 | 46522 | 46523 | 46524 | 46525 | 46526 | 46527 | 46528 | 46529 | 46530 | 46531 | 46532 | 46533 | 46534 | 46535 | 46536 | 46537 | 46538 | 46539 | 46540 | 46541 | 46542 | 46543 | 46544 | 46545 | 46546 | 46547 | 46548 | 46549 | 46550 | 46551 | 46552 | 46553 | 46554 | 46555 | 46556 | 46557 | 46558 | 46559 | 46560 | 46561 | 46562 | 46563 | 46564 | 46565 | 46566 | 46567 | 46568 | 46569 | 46570 | 46571 | 46572 | 46573 | 46574 | 46575 | 46576 | 46577 | 46578 | 46579 | 46580 | 46581 | 46582 | 46583 | 46584 | 46585 | 46586 | 46587 | 46588 | 46589 | 46590 | 46591 | 46592 | 46593 | 46594 | 46595 | 46596 | 46597 | 46598 | 46599 | 46600 | 46601 | 46602 | 46603 | 46604 | 46605 | 46606 | 46607 | 46608 | 46609 | 46610 | 46611 | 46612 | 46613 | 46614 | 46615 | 46616 | 46617 | 46618 | 46619 | 46620 | 46621 | 46622 | 46623 | 46624 | 46625 | 46626 | 46627 | 46628 | 46629 | 46630 | 46631 | 46632 | 46633 | 46634 | 46635 | 46636 | 46637 | 46638 | 46639 | 46640 | 46641 | 46642 | 46643 | 46644 | 46645 | 46646 | 46647 | 46648 | 46649 | 46650 | 46651 | 46652 | 46653 | 46654 | 46655 | 46656 | 46657 | 46658 | 46659 | 46660 | 46661 | 46662 | 46663 | 46664 | 46665 | 46666 | 46667 | 46668 | 46669 | 46670 | 46671 | 46672 | 46673 | 46674 | 46675 | 46676 | 46677 | 46678 | 46679 | 46680 | 46681 | 46682 | 46683 | 46684 | 46685 | 46686 | 46687 | 46688 | 46689 | 46690 | 46691 | 46692 | 46693 | 46694 | 46695 | 46696 | 46697 | 46698 | 46699 | 46700 | 46701 | 46702 | 46703 | 46704 | 46705 | 46706 | 46707 | 46708 | 46709 | 46710 | 46711 | 46712 | 46713 | 46714 | 46715 | 46716 | 46717 | 46718 | 46719 | 46720 | 46721 | 46722 | 46723 | 46724 | 46725 | 46726 | 46727 | 46728 | 46729 | 46730 | 46731 | 46732 | 46733 | 46734 | 46735 | 46736 | 46737 | 46738 | 46739 | 46740 | 46741 | 46742 | 46743 | 46744 | 46745 | 46746 | 46747 | 46748 | 46749 | 46750 | 46751 | 46752 | 46753 | 46754 | 46755 | 46756 | 46757 | 46758 | 46759 | 46760 | 46761 | 46762 | 46763 | 46764 | 46765 | 46766 | 46767 | 46768 | 46769 | 46770 | 46771 | 46772 | 46773 | 46774 | 46775 | 46776 | 46777 | 46778 | 46779 | 46780 | 46781 | 46782 | 46783 | 46784 | 46785 | 46786 | 46787 | 46788 | 46789 | 46790 | 46791 | 46792 | 46793 | 46794 | 46795 | 46796 | 46797 | 46798 | 46799 | 46800 | 46801 | 46802 | 46803 | 46804 | 46805 | 46806 | 46807 | 46808 | 46809 | 46810 | 46811 | 46812 | 46813 | 46814 | 46815 | 46816 | 46817 | 46818 | 46819 | 46820 | 46821 | 46822 | 46823 | 46824 | 46825 | 46826 | 46827 | 46828 | 46829 | 46830 | 46831 | 46832 | 46833 | 46834 | 46835 | 46836 | 46837 | 46838 | 46839 | 46840 | 46841 | 46842 | 46843 | 46844 | 46845 | 46846 | 46847 | 46848 | 46849 | 46850 | 46851 | 46852 | 46853 | 46854 | 46855 | 46856 | 46857 | 46858 | 46859 | 46860 | 46861 | 46862 | 46863 | 46864 | 46865 | 46866 | 46867 | 46868 | 46869 | 46870 | 46871 | 46872 | 46873 | 46874 | 46875 | 46876 | 46877 | 46878 | 46879 | 46880 | 46881 | 46882 | 46883 | 46884 | 46885 | 46886 | 46887 | 46888 | 46889 | 46890 | 46891 | 46892 | 46893 | 46894 | 46895 | 46896 | 46897 | 46898 | 46899 | 46900 | 46901 | 46902 | 46903 | 46904 | 46905 | 46906 | 46907 | 46908 | 46909 | 46910 | 46911 | 46912 | 46913 | 46914 | 46915 | 46916 | 46917 | 46918 | 46919 | 46920 | 46921 | 46922 | 46923 | 46924 | 46925 | 46926 | 46927 | 46928 | 46929 | 46930 | 46931 | 46932 | 46933 | 46934 | 46935 | 46936 | 46937 | 46938 | 46939 | 46940 | 46941 | 46942 | 46943 | 46944 | 46945 | 46946 | 46947 | 46948 | 46949 | 46950 | 46951 | 46952 | 46953 | 46954 | 46955 | 46956 | 46957 | 46958 | 46959 | 46960 | 46961 | 46962 | 46963 | 46964 | 46965 | 46966 | 46967 | 46968 | 46969 | 46970 | 46971 | 46972 | 46973 | 46974 | 46975 | 46976 | 46977 | 46978 | 46979 | 46980 | 46981 | 46982 | 46983 | 46984 | 46985 | 46986 | 46987 | 46988 | 46989 | 46990 | 46991 | 46992 | 46993 | 46994 | 46995 | 46996 | 46997 | 46998 | 46999 | 47000 | 47001 | 47002 | 47003 | 47004 | 47005 | 47006 | 47007 | 47008 | 47009 | 47010 | 47011 | 47012 | 47013 | 47014 | 47015 | 47016 | 47017 | 47018 | 47019 | 47020 | 47021 | 47022 | 47023 | 47024 | 47025 | 47026 | 47027 | 47028 | 47029 | 47030 | 47031 | 47032 | 47033 | 47034 | 47035 | 47036 | 47037 | 47038 | 47039 | 47040 | 47041 | 47042 | 47043 | 47044 | 47045 | 47046 | 47047 | 47048 | 47049 | 47050 | 47051 | 47052 | 47053 | 47054 | 47055 | 47056 | 47057 | 47058 | 47059 | 47060 | 47061 | 47062 | 47063 | 47064 | 47065 | 47066 | 47067 | 47068 | 47069 | 47070 | 47071 | 47072 | 47073 | 47074 | 47075 | 47076 | 47077 | 47078 | 47079 | 47080 | 47081 | 47082 | 47083 | 47084 | 47085 | 47086 | 47087 | 47088 | 47089 | 47090 | 47091 | 47092 | 47093 | 47094 | 47095 | 47096 | 47097 | 47098 | 47099 | 47100 | 47101 | 47102 | 47103 | 47104 | 47105 | 47106 | 47107 | 47108 | 47109 | 47110 | 47111 | 47112 | 47113 | 47114 | 47115 | 47116 | 47117 | 47118 | 47119 | 47120 | 47121 | 47122 | 47123 | 47124 | 47125 | 47126 | 47127 | 47128 | 47129 | 47130 | 47131 | 47132 | 47133 | 47134 | 47135 | 47136 | 47137 | 47138 | 47139 | 47140 | 47141 | 47142 | 47143 | 47144 | 47145 | 47146 | 47147 | 47148 | 47149 | 47150 | 47151 | 47152 | 47153 | 47154 | 47155 | 47156 | 47157 | 47158 | 47159 | 47160 | 47161 | 47162 | 47163 | 47164 | 47165 | 47166 | 47167 | 47168 | 47169 | 47170 | 47171 | 47172 | 47173 | 47174 | 47175 | 47176 | 47177 | 47178 | 47179 | 47180 | 47181 | 47182 | 47183 | 47184 | 47185 | 47186 | 47187 | 47188 | 47189 | 47190 | 47191 | 47192 | 47193 | 47194 | 47195 | 47196 | 47197 | 47198 | 47199 | 47200 | 47201 | 47202 | 47203 | 47204 | 47205 | 47206 | 47207 | 47208 | 47209 | 47210 | 47211 | 47212 | 47213 | 47214 | 47215 | 47216 | 47217 | 47218 | 47219 | 47220 | 47221 | 47222 | 47223 | 47224 | 47225 | 47226 | 47227 | 47228 | 47229 | 47230 | 47231 | 47232 | 47233 | 47234 | 47235 | 47236 | 47237 | 47238 | 47239 | 47240 | 47241 | 47242 | 47243 | 47244 | 47245 | 47246 | 47247 | 47248 | 47249 | 47250 | 47251 | 47252 | 47253 | 47254 | 47255 | 47256 | 47257 | 47258 | 47259 | 47260 | 47261 | 47262 | 47263 | 47264 | 47265 | 47266 | 47267 | 47268 | 47269 | 47270 | 47271 | 47272 | 47273 | 47274 | 47275 | 47276 | 47277 | 47278 | 47279 | 47280 | 47281 | 47282 | 47283 | 47284 | 47285 | 47286 | 47287 | 47288 | 47289 | 47290 | 47291 | 47292 | 47293 | 47294 | 47295 | 47296 | 47297 | 47298 | 47299 | 47300 | 47301 | 47302 | 47303 | 47304 | 47305 | 47306 | 47307 | 47308 | 47309 | 47310 | 47311 | 47312 | 47313 | 47314 | 47315 | 47316 | 47317 | 47318 | 47319 | 47320 | 47321 | 47322 | 47323 | 47324 | 47325 | 47326 | 47327 | 47328 | 47329 | 47330 | 47331 | 47332 | 47333 | 47334 | 47335 | 47336 | 47337 | 47338 | 47339 | 47340 | 47341 | 47342 | 47343 | 47344 | 47345 | 47346 | 47347 | 47348 | 47349 | 47350 | 47351 | 47352 | 47353 | 47354 | 47355 | 47356 | 47357 | 47358 | 47359 | 47360 | 47361 | 47362 | 47363 | 47364 | 47365 | 47366 | 47367 | 47368 | 47369 | 47370 | 47371 | 47372 | 47373 | 47374 | 47375 | 47376 | 47377 | 47378 | 47379 | 47380 | 47381 | 47382 | 47383 | 47384 | 47385 | 47386 | 47387 | 47388 | 47389 | 47390 | 47391 | 47392 | 47393 | 47394 | 47395 | 47396 | 47397 | 47398 | 47399 | 47400 | 47401 | 47402 | 47403 | 47404 | 47405 | 47406 | 47407 | 47408 | 47409 | 47410 | 47411 | 47412 | 47413 | 47414 | 47415 | 47416 | 47417 | 47418 | 47419 | 47420 | 47421 | 47422 | 47423 | 47424 | 47425 | 47426 | 47427 | 47428 | 47429 | 47430 | 47431 | 47432 | 47433 | 47434 | 47435 | 47436 | 47437 | 47438 | 47439 | 47440 | 47441 | 47442 | 47443 | 47444 | 47445 | 47446 | 47447 | 47448 | 47449 | 47450 | 47451 | 47452 | 47453 | 47454 | 47455 | 47456 | 47457 | 47458 | 47459 | 47460 | 47461 | 47462 | 47463 | 47464 | 47465 | 47466 | 47467 | 47468 | 47469 | 47470 | 47471 | 47472 | 47473 | 47474 | 47475 | 47476 | 47477 | 47478 | 47479 | 47480 | 47481 | 47482 | 47483 | 47484 | 47485 | 47486 | 47487 | 47488 | 47489 | 47490 | 47491 | 47492 | 47493 | 47494 | 47495 | 47496 | 47497 | 47498 | 47499 | 47500 | 47501 | 47502 | 47503 | 47504 | 47505 | 47506 | 47507 | 47508 | 47509 | 47510 | 47511 | 47512 | 47513 | 47514 | 47515 | 47516 | 47517 | 47518 | 47519 | 47520 | 47521 | 47522 | 47523 | 47524 | 47525 | 47526 | 47527 | 47528 | 47529 | 47530 | 47531 | 47532 | 47533 | 47534 | 47535 | 47536 | 47537 | 47538 | 47539 | 47540 | 47541 | 47542 | 47543 | 47544 | 47545 | 47546 | 47547 | 47548 | 47549 | 47550 | 47551 | 47552 | 47553 | 47554 | 47555 | 47556 | 47557 | 47558 | 47559 | 47560 | 47561 | 47562 | 47563 | 47564 | 47565 | 47566 | 47567 | 47568 | 47569 | 47570 | 47571 | 47572 | 47573 | 47574 | 47575 | 47576 | 47577 | 47578 | 47579 | 47580 | 47581 | 47582 | 47583 | 47584 | 47585 | 47586 | 47587 | 47588 | 47589 | 47590 | 47591 | 47592 | 47593 | 47594 | 47595 | 47596 | 47597 | 47598 | 47599 | 47600 | 47601 | 47602 | 47603 | 47604 | 47605 | 47606 | 47607 | 47608 | 47609 | 47610 | 47611 | 47612 | 47613 | 47614 | 47615 | 47616 | 47617 | 47618 | 47619 | 47620 | 47621 | 47622 | 47623 | 47624 | 47625 | 47626 | 47627 | 47628 | 47629 | 47630 | 47631 | 47632 | 47633 | 47634 | 47635 | 47636 | 47637 | 47638 | 47639 | 47640 | 47641 | 47642 | 47643 | 47644 | 47645 | 47646 | 47647 | 47648 | 47649 | 47650 | 47651 | 47652 | 47653 | 47654 | 47655 | 47656 | 47657 | 47658 | 47659 | 47660 | 47661 | 47662 | 47663 | 47664 | 47665 | 47666 | 47667 | 47668 | 47669 | 47670 | 47671 | 47672 | 47673 | 47674 | 47675 | 47676 | 47677 | 47678 | 47679 | 47680 | 47681 | 47682 | 47683 | 47684 | 47685 | 47686 | 47687 | 47688 | 47689 | 47690 | 47691 | 47692 | 47693 | 47694 | 47695 | 47696 | 47697 | 47698 | 47699 | 47700 | 47701 | 47702 | 47703 | 47704 | 47705 | 47706 | 47707 | 47708 | 47709 | 47710 | 47711 | 47712 | 47713 | 47714 | 47715 | 47716 | 47717 | 47718 | 47719 | 47720 | 47721 | 47722 | 47723 | 47724 | 47725 | 47726 | 47727 | 47728 | 47729 | 47730 | 47731 | 47732 | 47733 | 47734 | 47735 | 47736 | 47737 | 47738 | 47739 | 47740 | 47741 | 47742 | 47743 | 47744 | 47745 | 47746 | 47747 | 47748 | 47749 | 47750 | 47751 | 47752 | 47753 | 47754 | 47755 | 47756 | 47757 | 47758 | 47759 | 47760 | 47761 | 47762 | 47763 | 47764 | 47765 | 47766 | 47767 | 47768 | 47769 | 47770 | 47771 | 47772 | 47773 | 47774 | 47775 | 47776 | 47777 | 47778 | 47779 | 47780 | 47781 | 47782 | 47783 | 47784 | 47785 | 47786 | 47787 | 47788 | 47789 | 47790 | 47791 | 47792 | 47793 | 47794 | 47795 | 47796 | 47797 | 47798 | 47799 | 47800 | 47801 | 47802 | 47803 | 47804 | 47805 | 47806 | 47807 | 47808 | 47809 | 47810 | 47811 | 47812 | 47813 | 47814 | 47815 | 47816 | 47817 | 47818 | 47819 | 47820 | 47821 | 47822 | 47823 | 47824 | 47825 | 47826 | 47827 | 47828 | 47829 | 47830 | 47831 | 47832 | 47833 | 47834 | 47835 | 47836 | 47837 | 47838 | 47839 | 47840 | 47841 | 47842 | 47843 | 47844 | 47845 | 47846 | 47847 | 47848 | 47849 | 47850 | 47851 | 47852 | 47853 | 47854 | 47855 | 47856 | 47857 | 47858 | 47859 | 47860 | 47861 | 47862 | 47863 | 47864 | 47865 | 47866 | 47867 | 47868 | 47869 | 47870 | 47871 | 47872 | 47873 | 47874 | 47875 | 47876 | 47877 | 47878 | 47879 | 47880 | 47881 | 47882 | 47883 | 47884 | 47885 | 47886 | 47887 | 47888 | 47889 | 47890 | 47891 | 47892 | 47893 | 47894 | 47895 | 47896 | 47897 | 47898 | 47899 | 47900 | 47901 | 47902 | 47903 | 47904 | 47905 | 47906 | 47907 | 47908 | 47909 | 47910 | 47911 | 47912 | 47913 | 47914 | 47915 | 47916 | 47917 | 47918 | 47919 | 47920 | 47921 | 47922 | 47923 | 47924 | 47925 | 47926 | 47927 | 47928 | 47929 | 47930 | 47931 | 47932 | 47933 | 47934 | 47935 | 47936 | 47937 | 47938 | 47939 | 47940 | 47941 | 47942 | 47943 | 47944 | 47945 | 47946 | 47947 | 47948 | 47949 | 47950 | 47951 | 47952 | 47953 | 47954 | 47955 | 47956 | 47957 | 47958 | 47959 | 47960 | 47961 | 47962 | 47963 | 47964 | 47965 | 47966 | 47967 | 47968 | 47969 | 47970 | 47971 | 47972 | 47973 | 47974 | 47975 | 47976 | 47977 | 47978 | 47979 | 47980 | 47981 | 47982 | 47983 | 47984 | 47985 | 47986 | 47987 | 47988 | 47989 | 47990 | 47991 | 47992 | 47993 | 47994 | 47995 | 47996 | 47997 | 47998 | 47999 | 48000 | 48001 | 48002 | 48003 | 48004 | 48005 | 48006 | 48007 | 48008 | 48009 | 48010 | 48011 | 48012 | 48013 | 48014 | 48015 | 48016 | 48017 | 48018 | 48019 | 48020 | 48021 | 48022 | 48023 | 48024 | 48025 | 48026 | 48027 | 48028 | 48029 | 48030 | 48031 | 48032 | 48033 | 48034 | 48035 | 48036 | 48037 | 48038 | 48039 | 48040 | 48041 | 48042 | 48043 | 48044 | 48045 | 48046 | 48047 | 48048 | 48049 | 48050 | 48051 | 48052 | 48053 | 48054 | 48055 | 48056 | 48057 | 48058 | 48059 | 48060 | 48061 | 48062 | 48063 | 48064 | 48065 | 48066 | 48067 | 48068 | 48069 | 48070 | 48071 | 48072 | 48073 | 48074 | 48075 | 48076 | 48077 | 48078 | 48079 | 48080 | 48081 | 48082 | 48083 | 48084 | 48085 | 48086 | 48087 | 48088 | 48089 | 48090 | 48091 | 48092 | 48093 | 48094 | 48095 | 48096 | 48097 | 48098 | 48099 | 48100 | 48101 | 48102 | 48103 | 48104 | 48105 | 48106 | 48107 | 48108 | 48109 | 48110 | 48111 | 48112 | 48113 | 48114 | 48115 | 48116 | 48117 | 48118 | 48119 | 48120 | 48121 | 48122 | 48123 | 48124 | 48125 | 48126 | 48127 | 48128 | 48129 | 48130 | 48131 | 48132 | 48133 | 48134 | 48135 | 48136 | 48137 | 48138 | 48139 | 48140 | 48141 | 48142 | 48143 | 48144 | 48145 | 48146 | 48147 | 48148 | 48149 | 48150 | 48151 | 48152 | 48153 | 48154 | 48155 | 48156 | 48157 | 48158 | 48159 | 48160 | 48161 | 48162 | 48163 | 48164 | 48165 | 48166 | 48167 | 48168 | 48169 | 48170 | 48171 | 48172 | 48173 | 48174 | 48175 | 48176 | 48177 | 48178 | 48179 | 48180 | 48181 | 48182 | 48183 | 48184 | 48185 | 48186 | 48187 | 48188 | 48189 | 48190 | 48191 | 48192 | 48193 | 48194 | 48195 | 48196 | 48197 | 48198 | 48199 | 48200 | 48201 | 48202 | 48203 | 48204 | 48205 | 48206 | 48207 | 48208 | 48209 | 48210 | 48211 | 48212 | 48213 | 48214 | 48215 | 48216 | 48217 | 48218 | 48219 | 48220 | 48221 | 48222 | 48223 | 48224 | 48225 | 48226 | 48227 | 48228 | 48229 | 48230 | 48231 | 48232 | 48233 | 48234 | 48235 | 48236 | 48237 | 48238 | 48239 | 48240 | 48241 | 48242 | 48243 | 48244 | 48245 | 48246 | 48247 | 48248 | 48249 | 48250 | 48251 | 48252 | 48253 | 48254 | 48255 | 48256 | 48257 | 48258 | 48259 | 48260 | 48261 | 48262 | 48263 | 48264 | 48265 | 48266 | 48267 | 48268 | 48269 | 48270 | 48271 | 48272 | 48273 | 48274 | 48275 | 48276 | 48277 | 48278 | 48279 | 48280 | 48281 | 48282 | 48283 | 48284 | 48285 | 48286 | 48287 | 48288 | 48289 | 48290 | 48291 | 48292 | 48293 | 48294 | 48295 | 48296 | 48297 | 48298 | 48299 | 48300 | 48301 | 48302 | 48303 | 48304 | 48305 | 48306 | 48307 | 48308 | 48309 | 48310 | 48311 | 48312 | 48313 | 48314 | 48315 | 48316 | 48317 | 48318 | 48319 | 48320 | 48321 | 48322 | 48323 | 48324 | 48325 | 48326 | 48327 | 48328 | 48329 | 48330 | 48331 | 48332 | 48333 | 48334 | 48335 | 48336 | 48337 | 48338 | 48339 | 48340 | 48341 | 48342 | 48343 | 48344 | 48345 | 48346 | 48347 | 48348 | 48349 | 48350 | 48351 | 48352 | 48353 | 48354 | 48355 | 48356 | 48357 | 48358 | 48359 | 48360 | 48361 | 48362 | 48363 | 48364 | 48365 | 48366 | 48367 | 48368 | 48369 | 48370 | 48371 | 48372 | 48373 | 48374 | 48375 | 48376 | 48377 | 48378 | 48379 | 48380 | 48381 | 48382 | 48383 | 48384 | 48385 | 48386 | 48387 | 48388 | 48389 | 48390 | 48391 | 48392 | 48393 | 48394 | 48395 | 48396 | 48397 | 48398 | 48399 | 48400 | 48401 | 48402 | 48403 | 48404 | 48405 | 48406 | 48407 | 48408 | 48409 | 48410 | 48411 | 48412 | 48413 | 48414 | 48415 | 48416 | 48417 | 48418 | 48419 | 48420 | 48421 | 48422 | 48423 | 48424 | 48425 | 48426 | 48427 | 48428 | 48429 | 48430 | 48431 | 48432 | 48433 | 48434 | 48435 | 48436 | 48437 | 48438 | 48439 | 48440 | 48441 | 48442 | 48443 | 48444 | 48445 | 48446 | 48447 | 48448 | 48449 | 48450 | 48451 | 48452 | 48453 | 48454 | 48455 | 48456 | 48457 | 48458 | 48459 | 48460 | 48461 | 48462 | 48463 | 48464 | 48465 | 48466 | 48467 | 48468 | 48469 | 48470 | 48471 | 48472 | 48473 | 48474 | 48475 | 48476 | 48477 | 48478 | 48479 | 48480 | 48481 | 48482 | 48483 | 48484 | 48485 | 48486 | 48487 | 48488 | 48489 | 48490 | 48491 | 48492 | 48493 | 48494 | 48495 | 48496 | 48497 | 48498 | 48499 | 48500 | 48501 | 48502 | 48503 | 48504 | 48505 | 48506 | 48507 | 48508 | 48509 | 48510 | 48511 | 48512 | 48513 | 48514 | 48515 | 48516 | 48517 | 48518 | 48519 | 48520 | 48521 | 48522 | 48523 | 48524 | 48525 | 48526 | 48527 | 48528 | 48529 | 48530 | 48531 | 48532 | 48533 | 48534 | 48535 | 48536 | 48537 | 48538 | 48539 | 48540 | 48541 | 48542 | 48543 | 48544 | 48545 | 48546 | 48547 | 48548 | 48549 | 48550 | 48551 | 48552 | 48553 | 48554 | 48555 | 48556 | 48557 | 48558 | 48559 | 48560 | 48561 | 48562 | 48563 | 48564 | 48565 | 48566 | 48567 | 48568 | 48569 | 48570 | 48571 | 48572 | 48573 | 48574 | 48575 | 48576 | 48577 | 48578 | 48579 | 48580 | 48581 | 48582 | 48583 | 48584 | 48585 | 48586 | 48587 | 48588 | 48589 | 48590 | 48591 | 48592 | 48593 | 48594 | 48595 | 48596 | 48597 | 48598 | 48599 | 48600 | 48601 | 48602 | 48603 | 48604 | 48605 | 48606 | 48607 | 48608 | 48609 | 48610 | 48611 | 48612 | 48613 | 48614 | 48615 | 48616 | 48617 | 48618 | 48619 | 48620 | 48621 | 48622 | 48623 | 48624 | 48625 | 48626 | 48627 | 48628 | 48629 | 48630 | 48631 | 48632 | 48633 | 48634 | 48635 | 48636 | 48637 | 48638 | 48639 | 48640 | 48641 | 48642 | 48643 | 48644 | 48645 | 48646 | 48647 | 48648 | 48649 | 48650 | 48651 | 48652 | 48653 | 48654 | 48655 | 48656 | 48657 | 48658 | 48659 | 48660 | 48661 | 48662 | 48663 | 48664 | 48665 | 48666 | 48667 | 48668 | 48669 | 48670 | 48671 | 48672 | 48673 | 48674 | 48675 | 48676 | 48677 | 48678 | 48679 | 48680 | 48681 | 48682 | 48683 | 48684 | 48685 | 48686 | 48687 | 48688 | 48689 | 48690 | 48691 | 48692 | 48693 | 48694 | 48695 | 48696 | 48697 | 48698 | 48699 | 48700 | 48701 | 48702 | 48703 | 48704 | 48705 | 48706 | 48707 | 48708 | 48709 | 48710 | 48711 | 48712 | 48713 | 48714 | 48715 | 48716 | 48717 | 48718 | 48719 | 48720 | 48721 | 48722 | 48723 | 48724 | 48725 | 48726 | 48727 | 48728 | 48729 | 48730 | 48731 | 48732 | 48733 | 48734 | 48735 | 48736 | 48737 | 48738 | 48739 | 48740 | 48741 | 48742 | 48743 | 48744 | 48745 | 48746 | 48747 | 48748 | 48749 | 48750 | 48751 | 48752 | 48753 | 48754 | 48755 | 48756 | 48757 | 48758 | 48759 | 48760 | 48761 | 48762 | 48763 | 48764 | 48765 | 48766 | 48767 | 48768 | 48769 | 48770 | 48771 | 48772 | 48773 | 48774 | 48775 | 48776 | 48777 | 48778 | 48779 | 48780 | 48781 | 48782 | 48783 | 48784 | 48785 | 48786 | 48787 | 48788 | 48789 | 48790 | 48791 | 48792 | 48793 | 48794 | 48795 | 48796 | 48797 | 48798 | 48799 | 48800 | 48801 | 48802 | 48803 | 48804 | 48805 | 48806 | 48807 | 48808 | 48809 | 48810 | 48811 | 48812 | 48813 | 48814 | 48815 | 48816 | 48817 | 48818 | 48819 | 48820 | 48821 | 48822 | 48823 | 48824 | 48825 | 48826 | 48827 | 48828 | 48829 | 48830 | 48831 | 48832 | 48833 | 48834 | 48835 | 48836 | 48837 | 48838 | 48839 | 48840 | 48841 | 48842 | 48843 | 48844 | 48845 | 48846 | 48847 | 48848 | 48849 | 48850 | 48851 | 48852 | 48853 | 48854 | 48855 | 48856 | 48857 | 48858 | 48859 | 48860 | 48861 | 48862 | 48863 | 48864 | 48865 | 48866 | 48867 | 48868 | 48869 | 48870 | 48871 | 48872 | 48873 | 48874 | 48875 | 48876 | 48877 | 48878 | 48879 | 48880 | 48881 | 48882 | 48883 | 48884 | 48885 | 48886 | 48887 | 48888 | 48889 | 48890 | 48891 | 48892 | 48893 | 48894 | 48895 | 48896 | 48897 | 48898 | 48899 | 48900 | 48901 | 48902 | 48903 | 48904 | 48905 | 48906 | 48907 | 48908 | 48909 | 48910 | 48911 | 48912 | 48913 | 48914 | 48915 | 48916 | 48917 | 48918 | 48919 | 48920 | 48921 | 48922 | 48923 | 48924 | 48925 | 48926 | 48927 | 48928 | 48929 | 48930 | 48931 | 48932 | 48933 | 48934 | 48935 | 48936 | 48937 | 48938 | 48939 | 48940 | 48941 | 48942 | 48943 | 48944
RSD | 16756338104.616 | 16688032498.857 | 16538038473.714 | 16596160316.537 | 16695926132.908 | 16587970301.612 | 16529119798.739 | 16540369578.968 | 16460118461.378 | 16470477111.162 | 16418255899.773 | 16429128988.47 | 16343445667.001 | 16418445479.679

## Slide 6
1
GEMS L0 monitoring
GEMS Status
(WSD) Difference analysis by observation data
There are seasonal differences, but the larger the difference
in observation dates, the greater the difference.
As a result of correcting for influence of the obs. Date(SAA, BTDF, etc.), the difference due to the adj of solar obs. Cycle(daily  weekly) was reduced, confirming the possibility of using as input data.
Mar.
Jun.
Sep.
Dec.
+day1
+day3
+day5
+day7
Day 7 – Day 0
Mar.
Jun.
Sep.
Dec.
+day1
+day3
+day5
+day7
+day1
+day3
+day5
+day7
+day1
+day3
+day5
+day7
Day 7 – Day 0
Day 7 – Day 0
Day 7 – Day 0

## Slide 7
1
GEMS L0 monitoring
GEMS Status
Longterm change analysis of 34 temperature sensors
 analysis of the entire operation period showed seasonal fluctuations in the appropriate temperature(-36~65℃)*
The order of the light incident path within the GEMS
Location | Temperature Sensor number
Calibration Mechanism Assembly (CMA) | 3,4
Scan Mirror Assembly (SMA) | 5,6,14
Telescope | 10-13,15-22
Spectrometer | 7-8
Focal Plane Array (FPA) | 0-2
Focal Plane Electronics (FPE) | 23
Radiator Support | 9
Location of sensor near CCD
Location of sensor in FPE
*provided by the BATC

## Slide 8
GEMS Status
1
GEMS DPS monitoring

## Slide 9: 2. Analysis of Radiometric correction

## Slide 10
2
Analysis of Radio. correction
Radiance
March 20, 2022
Reflectance =
Unusual stripe pattern (N-S direction) on CCD
Clearly appear in weak signals about 2% variation (i.e., dark ocean)
- Occurs irregularly when GEMS reboots
Testing the feasibility of applying TEMPO gain correction method to GEMS

## Slide 11
2
Analysis of Radio. correction
Unusual stripe pattern(N-S direction) on CCD
Correction is performed using the error ratio by gain of the radiometric correction
Abnormal differences between adjacent pixels during time series analysis are reduced after correction.
 Earth and solar observation each need to be applied
before
Quadrant D (WV index = 100)
After Gain & Radiometric calibration coeff.

## Slide 12
2
Analysis of Radio. correction
Unusual stripe pattern(N-S direction) on CCD
Correction is performed using the error ration by gain of the radiometric correction
Spatial distribution analysis
To verify the correction results, compare with the earth reflectance with the striped pattern offset
After correction irradiance shows a similar spatial distribution with Earth reflectance
Earth reflectance
Before
After

## Slide 13: 3. Analysis of Geometric correction

## Slide 14
3
Analysis of Geo. correction
Analysis of Geometric accuracy through matching based on GK-2A
Due to observation characteristic of GEMS(spatial/radiometric resolution, wavelength), to difficult for extracting features and acquiring landmarks  using other sat data with guaranteed geometric correction quality(GK-2A/AMI) - considering scan pattern: GEMS: East Asia EW during 30min / AMI: full disk N S during10min
- spectral coincidence: fitting the GEMS wavelength according to AMI blue band SRF
- spatial matching: average of AMI pixel values contained in GEMS pixel
GEMS vs AMI comparison
AMI
accuracy
GEMS vs AMI matching

## Slide 15
Star tracker attitude control
3
Analysis of Geo. correction
Analysis of Geo. accuracy through matching based on GK-2A
North-South
East-West
Reboot(‘23.7.17)
Applying attitude
control(’23.4.3~24)
Applying attitude
control(’23.9.24~)
Reboot(‘25.1.13)
Results of Geo. Correction accuracy analysis (’23.1~’26.2) -> ± 1pixel error in N-S direction
Geo. Correction error due to GEMS reboot
Change to attitude control methods in preparation for extended GEMS operation

## Slide 16
3
Analysis of Geo. correction
Analysis of Geo. accuracy through matching based on GK-2A
Offset adjustment using spatiotemporal matching results
INR bias improved from 1~1.5pixels to within 0.65 pixels